## Availability (April2017)
Summary of System/Circuit outages (April2017)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1704010003-1 | Victoria/Nairobi | AFTN | 01/04/2017 06:13 | 01/04/2017 07:23 | 100% | Met messages not being received from Nairobi - resolved - VSAT 100%
1704010011-1 | Addis/Mogadishu | ATS/DS | 01/04/2017 10:51 | 01/04/2017 12:23 | 99.82% | Quad FXS card in Mogadishu replaced
1704070026-1 | Addis/Nairobi | ATS/DS | 07/04/2017 13:29 | 07/04/2017 16:31 | 99.58% | External VCCS Addis - Restored
1704090030-1 | Victoria/Jhb | AFTN | 09/04/2017 22:23 | 09/04/2017 22:31 | 100% | External - MET messages are sent from Nairobi and they restored it as well as e-mails from Reunion
1704130039-1 | Addis/Jeddah | AFTN | 13/04/2017 15:46 | 14/04/2017 16:09 | 98.5% | Jeddah RF switches stuck. Only 1 RFT operational. Restored
1704110060-1 | Addis/Jeddah | AFTN | 11/04/2017 23:01 | 11/04/2017 23:01 | 98.5% | See previous fault
1704120027-1 | Mogadishu/Victoria | ATS/DS | 12/04/2017 10:04 | 12/04/2017 10:31 | 100% | No Fault found upon investigation
1704150024-1 | Djibouti/Nairobi | AFTN | 15/04/2017 20:53 | 16/04/2017 08:11 | 98.5% | External -Cable restored
1704160007-1 | Victoria/Nairobi | AFTN | 16/04/2017 07:02 | 16/04/2017 12:02 | 98.5% | Met messages not being received from Nairobi - resolved - VSAT 100%
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1704010011-1 | Addis/Mogadishu | ATS/DS | 01/04/2017 10:51 | 01/04/2017 12:23 | 99.82% | Quad FXS card in Mogadishu replaced
1704070026-1 | Addis/Nairobi | ATS/DS | 07/04/2017 13:29 | 07/04/2017 16:31 | 99.58% | External VCCS Addis - Restored
1704130039-1 | Addis/Jeddah | AFTN | 13/04/2017 15:46 | 14/04/2017 16:09 | 98.5% | Jeddah RF switches stuck. Only 1 RFT operational. Restored
1704110060-1 | Addis/Jeddah | AFTN | 11/04/2017 23:01 | 11/04/2017 23:01 | 98.5% | See previous fault
1704150024-1 | Djibouti/Nairobi | AFTN | 15/04/2017 20:53 | 16/04/2017 08:11 | 98.5% | External -Cable restored
1704160007-1 | Victoria/Nairobi | AFTN | 16/04/2017 07:02 | 16/04/2017 12:02 | 98.5% | Met messages not being received from Nairobi - resolved - VSAT 100%