## Availability (April2019)
Summary of System/Circuit outages (April2019)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1904230061-1 | Nairobi | System | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904260020-1 | NAFISAT | Network | 26/04/2019 12:12 | 26/04/2019 12:15 | 100% | New Configuration loaded on the NAFISAT network - no effect on services
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1904140001-1 | Asmara/Jeddah | ATS/DS | 14/04/2019 03:18 | 14/04/2019 03:36 | 99.96% | External - VCCS in Jeddah restored
1904110017-1 | Djibouti/Nairobi | AFTN | 11/04/2019 07:55 | 11/04/2019 08:00 | 99.98% | External - AFTN in Nairobi restored
1904130007-1 | Entebbe/Nairobi | ATS/DS | 13/04/2019 08:23 | 13/04/2019 08:41 | 99.96% | External - VCCS in Nairobi restored
1904050001-1 | Asmara/Jeddah | ATS/DS | 05/04/2019 03:01 | 05/04/2019 03:15 | 99.97% | No Fault Found upon investigation
1904160051-1 | Entebbe/Nairobi | ATS/DS | 16/04/2019 16:16 | 16/04/2019 16:18 | 99.99% | External - VCCS in Nairobi restored
1904160053-1 | Khartoum/Sanaá | AFTN | 16/04/2019 19:30 | 16/04/2019 19:31 | 100% | Previous IDU 5000 network - restored
1904220052-1 | Cairo/Khatoum | ATS/DS | 22/04/2019 20:42 | 22/04/2019 21:12 | 99.93% | External - VCCS in Khartoum restored
1904260024-1 | Entebbe/Nairobi/Jhb | AFTN | 26/04/2019 07:30 | 26/04/2019 08:00 | 99.93% | FAD 8400 faulty - moved services replaced with new FAD
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1904230061-1 | Nairobi/Addis | ATS/DS | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Dar Es Salaam | ATS/DS | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Entebbe | ATS/DS | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Khartoum | ATS/DS | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Mogadishu | ATS/DS | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Victoria | ATS/DS | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Addis | AFTN | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Dar Es Salaam | AFTN | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Entebbe | AFTN | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Brazzaville | AFTN | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Jhb | AFTN | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Plaisance | AFTN | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Victoria | AFTN | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Djibouti | AFTN | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904230061-1 | Nairobi/Cairo | AFTN | 23/04/2019 14:46 | 23/04/2019 15:15 | 99.93% | Lightning strike affected the terminal - Restored - Send spares to be replaced - Rf Switch and RCU
1904140001-1 | Asmara/Jeddah | ATS/DS | 14/04/2019 03:18 | 14/04/2019 03:36 | 99.96% | External - VCCS in Jeddah restored
1904110017-1 | Djibouti/Nairobi | AFTN | 11/04/2019 07:55 | 11/04/2019 08:00 | 99.98% | External - AFTN in Nairobi restored
1904130007-1 | Entebbe/Nairobi | ATS/DS | 13/04/2019 08:23 | 13/04/2019 08:41 | 99.96% | External - VCCS in Nairobi restored
1904050001-1 | Asmara/Jeddah | ATS/DS | 05/04/2019 03:01 | 05/04/2019 03:15 | 99.97% | No Fault Found upon investigation
1904160051-1 | Entebbe/Nairobi | ATS/DS | 16/04/2019 16:16 | 16/04/2019 16:18 | 99.99% | External - VCCS in Nairobi restored
1904160053-1 | Khartoum/Sanaá | AFTN | 16/04/2019 19:30 | 16/04/2019 19:31 | 100% | Previous IDU 5000 network - restored
1904220052-1 | Cairo/Khatoum | ATS/DS | 22/04/2019 20:42 | 22/04/2019 21:12 | 99.93% | External - VCCS in Khartoum restored
1904260024-1 | Entebbe/Nairobi/Jhb | AFTN | 26/04/2019 07:30 | 26/04/2019 08:00 | 99.93% | FAD 8400 faulty - moved services replaced with new FAD