## Availability (April2015)
Summary of System/Circuit outages (April2015)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1504100033-1 | Kigali | System | 10/04/2015 14:55 | 10/04/2015 15:30 | 99.85% | Preventative maintenance
1504180018-1 | Beira | System | 18/04/2015 17:10 | 18/04/2015 18:12 | 99.85% | External - Mains supply outage extended beyond UPS capacity
1504290018-1 | Dar Es Salaam | system | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1402210027-2 | Kinshasa | NMS PC | 21/02/2014 09:27 | 21/02/2014 09:28 | 100% | NMS PC needs new OS
1408210038-1 | Maseru | RFT | 21/08/2014 11:27 | 25/08/2014 13:13 | 100% | RFT1 suspect - stable now, needs to be tested during PM
1409300028-1 | Maseru | UPS | 30/09/2014 07:34 | 30/09/2014 07:40 | 100% | External - UPS - Mains failure and UPS batt suspect - will be tested during PM
1504180017-1 | Dar Es Salaam/Beira | ATS/DS | 18/04/2015 16:32 | 18/04/2015 16:33 | 99.85% | Circular grade affecting services - see UN - 1504290018-1- IDU replaced
1504210032-1 | Manzini/Maputo | ATS/DS | 21/04/2015 16:32 | 21/05/2015 16:37 | 99.85% | Voice levels soft - Reset Skywan in Maputo
1504290027-1 | Jhb | AFTN | 29/04/2015 10:18 | 29/04/2015 10:20 | 100% | Fault opened incorrectly
1504270031-1 | Jhb/Victoria | AFTN | 27/04/2015 12:41 | 27/04/2015 12:50 | 99.98% | External - Cable from AFTN to Memotec faulty
1504280041-1 | Gaborone/Jhb | ATS/DS | 28/04/2015 18:17 | 28/04/2015 18:21 | 99.92% | RF chain at Jhb SSS was crossed, restored
1504290029-1 | Jhb | AFTN | 28/04/2015 19:31 | 28/04/2015 | 99.92% | RF chain at Jhb SSS was crossed, restored
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1504100033-1 | Kigali/Dar Es Salaam | ATS/DS | 10/04/2015 14:55 | 10/04/2015 15:30 | 99.85% | Preventative maintenance
1504100033-1 | Kigali/Entebbe | ATS/DS | 10/04/2015 14:55 | 10/04/2015 15:30 | 99.85% | Preventative maintenance
1504100033-1 | Kigali/Bujumbura | ATS/DS | 10/04/2015 14:55 | 10/04/2015 15:30 | 99.85% | Preventative maintenance
1504100033-1 | Kigali/Kinshasa | ATS/DS | 10/04/2015 14:55 | 10/04/2015 15:30 | 99.85% | Preventative maintenance
1504100033-1 | Kigali/Jhb | AFTN | 10/04/2015 14:55 | 10/04/2015 15:30 | 99.85% | Preventative maintenance
1504180018-1 | Beira/Antananarivo | ATS/DS | 18/04/2015 17:10 | 18/04/2015 18:12 | 99.85% | External - Mains supply outage extended beyond UPS capacity
1504180018-1 | Beira/Dar Es Salaam | ATS/DS | 18/04/2015 17:10 | 18/04/2015 18:12 | 99.85% | External - Mains supply outage extended beyond UPS capacity
1504180018-1 | Beira/Harare | ATS/DS | 18/04/2015 17:10 | 18/04/2015 18:12 | 99.85% | External - Mains supply outage extended beyond UPS capacity
1504180018-1 | Beira/Jhb | ATS/DS | 18/04/2015 17:10 | 18/04/2015 18:12 | 99.85% | External - Mains supply outage extended beyond UPS capacity
1504180018-1 | Beira/Lilongwe | ATS/DS | 18/04/2015 17:10 | 18/04/2015 18:12 | 99.85% | External - Mains supply outage extended beyond UPS capacity
1504180018-1 | Beira/Lusaka | ATS/DS | 18/04/2015 17:10 | 18/04/2015 18:12 | 99.85% | External - Mains supply outage extended beyond UPS capacity
1504180018-1 | Beira/Maputo | ATS/DS | 18/04/2015 17:10 | 18/04/2015 18:12 | 99.85% | External - Mains supply outage extended beyond UPS capacity
1504180018-1 | Beira/Jhb | AFTN | 18/04/2015 17:10 | 18/04/2015 18:12 | 99.85% | External - Mains supply outage extended beyond UPS capacity
1504290018-1 | Dar Es Salaam/Antananarivo | ATS/DS | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
1504290018-1 | Dar Es Salaam/Beira | ATS/DS | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
1504290018-1 | Dar Es Salaam/Bujumbura | ATS/DS | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
1504290018-1 | Dar Es Salaam/Entebbe | ATS/DS | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
1504290018-1 | Dar Es Salaam/Lilongwe | ATS/DS | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
1504290018-1 | Dar Es Salaam/Lusaka | ATS/DS | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
1504290018-1 | Dar Es Salaam/Kigali | ATS/DS | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
1504290018-1 | Dar Es Salaam/Kinshasa | ATS/DS | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
1504290018-1 | Dar Es Salaam/Nairobi | ATS/DS | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
1504290018-1 | Dar Es Salaam/Jhb | AFTN | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
1504290018-1 | Dar Es Salaam/Nairobi | AFTN | 29/04/2015 08:40 | 29/04/2015 09:00 | 99.85% | Replace IDU - Preventative maintenance
1504180017-1 | Dar Es Salaam/Beira | ATS/DS | 18/04/2015 16:32 | 18/04/2015 16:33 | 99.85% | Circular grade affecting services - see UN - 1504290018-1- IDU replaced
1504210032-1 | Manzini/Maputo | ATS/DS | 21/04/2015 16:32 | 21/05/2015 16:37 | 99.85% | Voice levels soft - Reset Skywan in Maputo
1504270031-1 | Jhb/Victoria | AFTN | 27/04/2015 12:41 | 27/04/2015 12:50 | 99.98% | External - Cable from AFTN to Memotec faulty
1504280041-1 | Gaborone/Jhb | ATS/DS | 28/04/2015 18:17 | 28/04/2015 18:21 | 99.92% | RF chain at Jhb SSS was crossed, restored
1504290029-1 | Jhb | AFTN | 28/04/2015 19:31 | 28/04/2015 | 99.92% | RF chain at Jhb SSS was crossed, restored