## Availability (Aug2016)
Summary of System/Circuit outages (Aug016)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1608150041-1 | Nairobi | ATS/DS | 15/08/2016 15:24 | 15/08/2015 15:31 | 99.85% | Reset IDU in Nairobi
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 31/01/2013 | 100% | NMS Statistical software- No affect on service
1401200034-1 | Sana'a | NMS | 20/01/2014 11:23 | 20/01/2014 | 100% | NMS PC- No affect on service - ready for replacement - awaiting safety confirmation to send staff member- RFT u/s need to replace
1506110040-1 | Entebbe MMC | UPS | 11/06/2015 15:04 | 30/06/2015 | 100% | External - UPS failed - needs replacement
1506050043-1 | Entebbe | UPS | 05/06/2015 | 30/06/2015 | 100% | External - UPS failed - needs replacement
1606120015-1 | Asmara | RFT | 2016-12-06 15:14 | 2016-12-06 15:21 | 100% | RFT 2 needs replacement. - No effect on the system operating on Chain 1.
1606280038-1 | Entebbe | RF Switch | 28/06/2016 10:57 | 26/06/2016 | 100% | RF Switch needs replacement - no effect on services
1606280038-4 | Entebbe | RF Switch | 28/06/2016 10:57 | 28/06/2016 | 100% | RF Switch needs replacement - no effect on services
1608030013-1 | Mogadishu | NMS PC | 2016-03-08 09:47 | 2016-03-08 10:00 | 100% | NMS PC error - restarted. No effect on services
1608100031-1 | Jeddah/Sana'a | ATS/DS | 2016-10-08 12:50 | 2016-10-08 13:30 | 100% | No fault found - restored upon investigation
1608110053-1 | Victoria/Jhb | AFTN | 2016-11-08 18:55 | 2016-11-08 19:15 | 100% | External - messages not transmitted via AFTN - only check messages -resent messages
1608110054-1 | Nairobi/Jhb | AFTN | 2016-11-08 19:27 | 2016-11-08 19:47 | 99.85% | External - AMHS in Nairobi port suspect - after investiagtion the port was operating
1608130001-1 | Nairobi | ATS/DS | 13/08/2016 00:16 | 13/08/2016 0035 | 100% | External - fault wrongly reported - It was VHF domestic issue not NAFISAT
1608150041-2 | Nairobi | ATS/DS | 15/08/2016 15:24 | 15/08/2016 15:50 | 100% | Duplication of fault 1608150041-1
1608230021-1 | Entebbe/Nairobi | AFTN | 23/08/2016 08:43 | 23/08/2016 08:45 | 99.85% | External - AMHS in Entebbe retored after power failure
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1608110054-1 | Nairobi/Jhb | AFTN | 2016-11-08 19:27 | 2016-11-08 19:47 | 99.85% | External - AMHS in Nairobi port suspect - after investiagtion the port was operating
1608230021-1 | Entebbe/Nairobi | AFTN | 23/08/2016 08:43 | 23/08/2016 08:45 | 99.85% | External - AMHS in Entebbe retored after power failure
1608150041-1 | Nairobi/Addis | ATS/DS | 15/08/2016 15:24 | 15/08/2015 15:31 | 99.85% | Reset IDU in Nairobi
1608150041-1 | Nairobi/Dar Es Salaam | ATS/DS | 15/08/2016 15:24 | 15/08/2015 15:31 | 99.85% | Reset IDU in Nairobi
1608150041-1 | Nairobi/ Entebbe | ATS/DS | 15/08/2016 15:24 | 15/08/2015 15:31 | 99.85% | Reset IDU in Nairobi
1608150041-1 | Nairobi/Khartoum | ATS/DS | 15/08/2016 15:24 | 15/08/2015 15:31 | 99.85% | Reset IDU in Nairobi
1608150041-1 | Nairobi/Mogadishu | ATS/DS | 15/08/2016 15:24 | 15/08/2015 15:31 | 99.85% | Reset IDU in Nairobi
1608150041-1 | Nairobi/Victoria | ATS/DS | 15/08/2016 15:24 | 15/08/2015 15:31 | 99.85% | Reset IDU in Nairobi