## Availability (Aug2017)
Summary of System/Circuit outages (Aug2017)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1708250030-1 | Mogadishu/Nairobi | AFTN | 25/08/2017 13:09 | 25/08/2017 13:42 | 99.85% | External - AMHS in Nairobi problamatic - restored
1708140007-1 | Djibouti/Nairobi | AFTN | 14/08/2017 07:29 | 14/08/2017 08:01 | 99.85% | External - cable faulty in Djibouti
1708040021-1 | Khartoum/Asmara | ATS/DS | 04/08/2017 09:16 | 16/08/2017 13:55 | 100% | No Fault Found upon investigation
1708040027-1 | Sanaá/Mogadishu | ATS/DS | 03/08/2017 16:57 | 03/08/2017 17:30 | 100% | No Fault Found upon investigation
1708090015-1 | Nairobi/Djibouti | AFTN | 09/08/2017 09:01 | 09/08/2017 09:24 | 100% | No Fault Found upon investigation
1708090019-1 | Sanaá/Jeddah | AFTN | 09/08/2017 10:59 | 09/08/2017 11:15 | 100% | No Fault Found upon investigation
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1708250030-1 | Mogadishu/Nairobi | AFTN | 25/08/2017 13:09 | 25/08/2017 13:42 | 99.85% | External - AMHS in Nairobi problamatic - restored
1708140007-1 | Djibouti/Nairobi | AFTN | 14/08/2017 07:29 | 14/08/2017 08:01 | 99.85% | External - cable faulty in Djibouti