## Availability (Aug2015)
Summary of System/Circuit outages (Aug2015)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1508260034-1 | Lusaka | System | 26/08/2015 13:20 | 26/08/2015 14:20 | 99.85% | Preventative maintenance
1508260022-1 | Harare | System | 26/08/2015 08:56 | 26/08/2015 09:00 | 99.85% | Preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1402210027-2 | Kinshasa | NMS PC | 21/02/2014 09:27 | 21/02/2014 09:28 | 100% | NMS PC needs new OS
1508040036-1 | Lilongwe | ATS/DS | 04/08/2015 11:58 | 11/09/2015 | 100% | RFT intermittant - replaced
1508040036-2 | Lilongwe | ATS/DS | 04/08/2015 11:58 | 11/09/2015 | 100% | RFT intermittant - Parts replaced on MMS
1508240051-1 | Luanda/Gaborone | ATS/DS | 24/08/2015 17:54 | 25/08/2015 08:38 | 98.5% | site intermittant - needs investigation - replaced IDU
1508250017-1 | Maseru | ATS/DS | 25/08/2015 07:24 | 25/08/2015 10:00 | 99.82% | site intermittant - equipment room was locked - reset IDU
1508250033-1 | Harare | AFTN | 25/08/2015 11:37 | 25/08/2015 11:40 | 100% | External - AFTN went off and on-no fault found
1508250024-1 | Lusaka | UPS | 25/08/2015 | 25/08/2015 | 100% | External - UPS intermittant, no effect on service
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1508260034-1 | Lusaka/Beira | ATS/DS | 26/08/2015 13:20 | 26/08/2015 14:20 | 99.85% | Preventative maintenance
1508260034-1 | Lusaka/Dar Es Salaam | ATS/DS | 26/08/2015 13:20 | 26/08/2015 14:20 | 99.85% | Preventative maintenance
1508260034-1 | Lusaka/Harare | ATS/DS | 26/08/2015 13:20 | 26/08/2015 14:20 | 99.85% | Preventative maintenance
1508260034-1 | Lusaka/Gaborone | ATS/DS | 26/08/2015 13:20 | 26/08/2015 14:20 | 99.85% | Preventative maintenance
1508260034-1 | Lusaka/Luanda | ATS/DS | 26/08/2015 13:20 | 26/08/2015 14:20 | 99.85% | Preventative maintenance
1508260034-1 | Lusaka/Kinshasa | ATS/DS | 26/08/2015 13:20 | 26/08/2015 14:20 | 99.85% | Preventative maintenance
1508260034-1 | Lusaka/Lilongwe | ATS/DS | 26/08/2015 13:20 | 26/08/2015 14:20 | 99.85% | Preventative maintenance
1508260034-1 | Lusaka/Windhoek | ATS/DS | 26/08/2015 13:20 | 26/08/2015 14:20 | 99.85% | Preventative maintenance
1508260034-1 | Lusaka/Jhb | AFTN | 26/08/2015 13:20 | 26/08/2015 14:20 | 99.85% | Preventative maintenance
1508260022-1 | Harare/Beira | ATS/DS | 26/08/2015 08:56 | 26/08/2015 09:00 | 99.85% | Preventative maintenance
1508260022-1 | Harare/Lilongwe | ATS/DS | 26/08/2015 08:56 | 26/08/2015 09:00 | 99.85% | Preventative maintenance
1508260022-1 | Harare/Gaborone | ATS/DS | 26/08/2015 08:56 | 26/08/2015 09:00 | 99.85% | Preventative maintenance
1508260022-1 | Harare/Lusaka | ATS/DS | 26/08/2015 08:56 | 26/08/2015 09:00 | 99.85% | Preventative maintenance
1508260022-1 | Harare/Maputo | ATS/DS | 26/08/2015 08:56 | 26/08/2015 09:00 | 99.85% | Preventative maintenance
1508260022-1 | Harare/Jhb | ATS/DS | 26/08/2015 08:56 | 26/08/2015 09:00 | 99.85% | Preventative maintenance
1508260022-1 | Harare/Jhb | AFTN | 26/08/2015 08:56 | 26/08/2015 09:00 | 99.85% | Preventative maintenance
1508240051-1 | Luanda/Gaborone | ATS/DS | 24/08/2015 17:54 | 25/08/2015 08:38 | 98.5% | site intermittant - needs investigation - replaced IDU
1508250017-1 | Maseru/Jhb | ATS/DS | 25/08/2015 07:24 | 25/08/2015 10:00 | 99.82% | site intermittant - equipment room was locked - reset IDU