## Availability (Dec2015)
Summary of System/Circuit outages (Dec 2015)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1512020059-1 | Addis Ababa | System | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 31/01/2013 | 100% | NMS Statistical software- No affect on service
1401200034-1 | Sana'a | NMS | 20/01/2014 11:23 | 20/01/2014 | 100% | NMS PC- No affect on service - ready for replacement - awaiting safety confirmation to send staff member- RFT u/s need to replace
1412220024-1 | Tripoli | RFT | 22/12/2014 09:43 | 31/12/2014 | 100% | RFT 1 faulty - no effect on service - needs replacement
1506110040-1 | Entebbe MMC | UPS | 11/06/2015 15:04 | 30/06/2015 | 100% | External - UPS failed - needs replacement
1506050043-1 | Entebbe | UPS | 05/06/2015 | 30/06/2015 | 100% | External - UPS failed - needs replacement
1512040037-1 | Jeddah/Sana'a | AFTN | 2015-04-12 18:09 | 2015-04-12 18:35 | 100% | No fault found upon investigation
1512100026-1 | Djibouti | IDU | 2015-09-12 09:44 | 2015-10-12 09:48 | 100% | Chain 1 was causing syncronization intermittancy-changed to chain 2 and monitored - found to be 100%
1512140001-1 | Jeddah/Sana'a | AFTN | 14/12/2015 00:41 | 14/12/2015 00:48 | 100% | no fault found upon investigation- see 1512040037-1
1512180036-1 | Cairo/Tripoli | ATS/DS | 16/12/2015 09:30 | 16/12/2015 09:34 | 99.85% | External-VCCS in Tripoli-VSAT tested OK
1512220036-1 | Jeddah/Sana'a | AFTN | 22/12/2015 22:04 | 23/12/2015 07:45 | 100% | no fault found upon investigation- see 1512040037-1
1512240075-1 | Jeddah/Sana'a | AFTN | 28/12/2015 13:53 | 31/12/2015 23:59 | 87.1% | External - Jeddah AFTN problamatic - awaiting response - will divert the messages through Khartoum
1512310153-1 | Cairo/Tripoli | ATS/DS | 31/12/2015 17:22 | 31/12/2015 17:39 | 100% | External-VCCS in Tripoli-VSAT tested OK -see 1512180036-1
1512290002-1 | Addis/Jeddah | AFTN | 29/12/2015 05:31 | 29/12/2015 05:37 | 98.5% | External - Addis is having problems with AMSS system - they will get back as soon as restored
1512300008-1 | Addis | RFT | 30/12/2015 09:53 | 30/12/2015 10:00 | 100% | RFT 1 faulty - no effect on service - needs replacement
1512300041-1 | Jeddah/Sana'a | AFTN | 30/12/2015 20:28 | 30/12/2015 20:30 | 100% | External - Jeddah AFTN problamatic - awaiting response - see 1512300008-1
1512300015-1 | Jeddah/Sana'a | AFTN | 30/12/2015 10:46 | 30/12/2015 20:30 | 100% | External - Jeddah AFTN problamatic - awaiting response - see 1512300008-1
1512310148-1 | Jeddah/Sana'a | AFTN | 30/12/2015 09:30 | 30/12/2015 20:30 | 100% | External - Jeddah AFTN problamatic - awaiting response - see 1512300008-1
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1512020059-1 | Addis Ababa/Asmara | ATS/DS | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512020059-1 | Addis Ababa/Djibouti | ATS/DS | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512020059-1 | Addis Ababa/Khartoum | ATS/DS | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512020059-1 | Addis Ababa/Mogadishu | ATS/DS | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512020059-1 | Addis Ababa/Nairobi | ATS/DS | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512020059-1 | Addis Ababa/Sana'a | ATS/DS | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512020059-1 | Addis Ababa/Asmara | AFTN | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512020059-1 | Addis Ababa/Djibouti | AFTN | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512020059-1 | Addis Ababa/Khartoum | AFTN | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512020059-1 | Addis Ababa/Jeddah | AFTN | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512020059-1 | Addis Ababa/Nairobi | AFTN | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512020059-1 | Addis Ababa/Niamey | AFTN | 2015-02-12 16:33 | 2015-02-12 18:00 | 99.75% | External - Power failure extended beyond UPS capability
1512240075-1 | Jeddah/Sana'a | AFTN | 28/12/2015 13:53 | 31/12/2015 23:59 | 87.1% | External - Jeddah AFTN problamatic - awaiting response - will divert the messages through Khartoum
1512290002-1 | Addis/Jeddah | AFTN | 29/12/2015 05:31 | 29/12/2015 05:37 | 98.5% | External - Addis is having problems with AMSS system - they will get back as soon as restored
1512180036-1 | Cairo/Tripoli | ATS/DS | 16/12/2015 09:30 | 16/12/2015 09:34 | 99.85% | External-VCCS in Tripoli-VSAT tested OK