## Availability (Feb2019)
Summary of System/Circuit outages (Feb2019)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1902200029-1 | Maputo | System | 20/02/2019 10:38 | 20/02/2019 11:00 | 99.85% | Preventative maintenance
1902260038-1 | Manzini | System | 26/02/2019 11:36 | 26/02/2019 11:13 | 99.85% | Preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1901030020-1 | Lilongwe | FAD | 03/01/2019 08:59 | 03/01/2019 09:04 | 100% | Part replacement - card needs to be replaced during next visit - ref 1812280021
1901030046-1 | Kinshasa | FPS | 03/01/2019 16:51 | 03/01/2019 16:55 | 100% | Lightning damage - logistical delays affected system - political unrest restored witin 8 hours of equipment being on site with assistance from local staff services 13% - see Prev fault 1901030045-1
1902030001-1 | Kigali/Jhb | AFTN | 03/02/2019 03:14 | 03/02/2019 03:25 | 99.97% | External - NAMIP in Jhb intermittant - restored
1902080001-1 | Kigali/Jhb | AFTN | 08/02/2019 00:42 | 08/02/2019 01:10 | 99.93% | external - NAMIP in Jhb intermittant - restored - see previous fault - NAMIP was replaced by JHB technicians
1902120081-1 | Bujumbura/Jhb | AFTN | 12/02/2019 09:30 | 12/02/2019 10:11 | 99.91% | External - NAMIP - Moved to another port
1902120082-1 | Harare/Jhb | AFTN | 12/02/2019 12:00 | 12/02/2019 12:05 | 99.99% | External - NAMIP - cable disconnected at NAMIP
1902160006-1 | Antana/Dar Es Salaam | ATS/DS | 16/02/2019 07:56 | 16/02/2019 08:10 | 100% | No Fault Found upon investigation
1902160019-1 | kinshasa/Jhb | AFTN | 16/02/2019 15:13 | 16/02/2019 16:02 | 99.88% | External - Kinshasa AFTN faulty - connected IAT PC and messages restored
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1902200029-1 | Maputo/Beira | ATS/DS | 20/02/2019 10:38 | 20/02/2019 11:00 | 99.85% | Preventative maintenance
1902200029-1 | Maputo/Harare | ATS/DS | 20/02/2019 10:38 | 20/02/2019 11:00 | 99.85% | Preventative maintenance
1902200029-1 | Maputo/Jhb | ATS/DS | 20/02/2019 10:38 | 20/02/2019 11:00 | 99.85% | Preventative maintenance
1902200029-1 | Maputo/Manzini | ATS/DS | 20/02/2019 10:38 | 20/02/2019 11:00 | 99.85% | Preventative maintenance
1902200029-1 | Maputo/Jhb | AFTN | 20/02/2019 10:38 | 20/02/2019 11:00 | 99.85% | Preventative maintenance
1902260038-1 | Manzini | ATS/DS | 26/02/2019 11:36 | 26/02/2019 11:13 | 99.85% | Preventative maintenance
1902260038-1 | Manzini | ATS/DS | 26/02/2019 11:36 | 26/02/2019 11:13 | 99.85% | Preventative maintenance
1902260038-1 | Manzini | AFTN | 26/02/2019 11:36 | 26/02/2019 11:13 | 99.85% | Preventative maintenance
1902030001-1 | Kigali/Jhb | AFTN | 03/02/2019 03:14 | 03/02/2019 03:25 | 99.97% | External - NAMIP in Jhb intermittant - restored
1902080001-1 | Kigali/Jhb | AFTN | 08/02/2019 00:42 | 08/02/2019 01:10 | 99.93% | external - NAMIP in Jhb intermittant - restored - see previous fault - NAMIP was replaced by JHB technicians
1902120081-1 | Bujumbura/Jhb | AFTN | 12/02/2019 09:30 | 12/02/2019 10:11 | 99.91% | External - NAMIP - Moved to another port
1902120082-1 | Harare/Jhb | AFTN | 12/02/2019 12:00 | 12/02/2019 12:05 | 99.99% | External - NAMIP - cable disconnected at NAMIP
1902160006-1 | Antana/Dar Es Salaam | ATS/DS | 16/02/2019 07:56 | 16/02/2019 08:10 | 100% | No Fault Found upon investigation
1902160019-1 | kinshasa/Jhb | AFTN | 16/02/2019 15:13 | 16/02/2019 16:02 | 99.88% | External - Kinshasa AFTN faulty - connected IAT PC and messages restored