## Availability (Jan2018)
Summary of System/Circuit outages (Jan2018)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1712140025-1 | Jeddah | System | 14/12/2017 13:30 | 14/12/2017 13:30 | 98.5% | IDU in Jeddah intermittant - needs replacement - reset IDU- RFT also suspect
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1801030060-1 | Addis/Nairobi | AFTN | 03/01/2018 18:43 | 03/01/2018 19:21 | 99.85% | External - AMHS in Addis restored
1801120008-1 | Addis/Jeddah | AFTN | 12/01/2018 05:57 | 12/01/2018 08:00 | 98.5% | Services intermittant - see previous fault 1712140025-1
1801140019-1 | Addis/Jeddah | AFTN | 14/01/2018 17:27 | 16/01/2018 09:14 | 98.5% | Services intermittant - see previous fault 1801120008-1
1801230017-1 | Entebbe | ATS/DS | 23/01/2018 08:13 | 23/01/2018 08:21 | 99.85% | Reset IDU in Entebbe as voice circuits reported to be noisy
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1712140025-1 | Jeddah/Asmara | ATS/DS | 14/12/2017 13:30 | 14/12/2017 13:30 | 98.5% | IDU in Jeddah intermittant - needs replacement - reset IDU- RFT also suspect
1712140025-1 | Jeddah/Cairo | ATS/DS | 14/12/2017 13:30 | 14/12/2017 13:30 | 98.5% | IDU in Jeddah intermittant - needs replacement - reset IDU- RFT also suspect
1712140025-1 | Jeddah/Khartoum | ATS/DS | 14/12/2017 13:30 | 14/12/2017 13:30 | 98.5% | IDU in Jeddah intermittant - needs replacement - reset IDU- RFT also suspect
1712140025-1 | Jeddah/Sanaá | ATS/DS | 14/12/2017 13:30 | 14/12/2017 13:30 | 98.5% | IDU in Jeddah intermittant - needs replacement - reset IDU- RFT also suspect
1712140025-1 | Jeddah/Addis | ATS/DS | 14/12/2017 13:30 | 14/12/2017 13:30 | 98.5% | IDU in Jeddah intermittant - needs replacement - reset IDU- RFT also suspect
1712140025-1 | JeddahKhartoum | AFTN | 14/12/2017 13:30 | 14/12/2017 13:30 | 98.5% | IDU in Jeddah intermittant - needs replacement - reset IDU- RFT also suspect
1712140025-1 | Jeddah/Sanaá | AFTN | 14/12/2017 13:30 | 14/12/2017 13:30 | 98.5% | IDU in Jeddah intermittant - needs replacement - reset IDU- RFT also suspect
1801030060-1 | Addis/Nairobi | AFTN | 03/01/2018 18:43 | 03/01/2018 19:21 | 99.85% | External - AMHS in Addis restored
1801230017-1 | Entebbe | ATS/DS | 23/01/2018 08:13 | 23/01/2018 08:21 | 99.85% | Reset IDU in Entebbe as voice circuits reported to be noisy