## Availability (July2017)
Summary of System/Circuit outages (July2017)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1706190023-1 | Tripoli | System | 01/07/2017 | 12/07/2017 16:00 | 61.3% | Restored by local staff and confirmed by Patrick on 18/07/2017
1707180027-1 | Tripoli | System | 18/07/2017 09:43 | 18/07/2017 11:00 | 99.85% | Preventative maintenance
1707070018-1 | Jeddah | IDU | 07/07/2017 10:14 | 31/07/2017 | 77% | IDU intermittant - services affected - Jeddah Technical staff scoursing spare IDU
1707180029-1 | Asmara | System | 07/07/2017 10:00 | 07/07/2017 16:00 | 99.85% | Preventative maintenance
1707280028-1 | Nairobi | System | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1707050037-1 | Mogadishu/Sanaá | ATS/DS | 05/07/2017 11:53 | 05/07/2017 12:19 | 99.85% | Sanaá is not upgraded yet and they were connected to new network in Modadishu
1707100022-1 | Addis/Nairobi | AFTN | 09/07/2017 06:42 | 10/07/2017 08:57 | 98.5% | Reset MEMOTEC in Nairobi - cct on old network -cable for new network suspect
1707210008-1 | Khartoum/Entebbe | ATS/DS | 21/07/2017 05:12 | 21/07/2017 05:12 | 99.85% | Quad FXS card failed moved to spare dual FXS card
1707260049-1 | Cairo/Nairobi | AFTN | 26/07/2017 16:14 | 26/07/2017 16:23 | 99.85% | External - Cable to AMHS in Nairobi suspect
1707280027-1 | Nairobi | AFTN | 28/07/2017 13:23 | 01/07/2017 12:28 | 100% | See previous fault 1707280028-1
1707240034-1 | Addis/Jeddah | AFTN | 24/07/2017 09:32 | 31/07/2017 10:19 | 100% | External - Cable in Addis problamatic.
1707120053-1 | Nairobi | ATS/DS | 08/07/2017 20:00 | 13/07/2017 13:31 | 99.85% | Quad FXS card failed in Nairobi - moved services to old network - services restored on new network after spare card installed
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1707070018-1 | Jeddah/Asmara | ATS/DS | 07/07/2017 10:14 | 31/07/2017 | 77% | IDU intermittant - services affected - Jeddah Technical staff scoursing spare IDU
1707070018-1 | Jeddah/Cairo | ATS/DS | 07/07/2017 10:14 | 31/07/2017 | 77% | IDU intermittant - services affected - Jeddah Technical staff scoursing spare IDU
1707070018-1 | Jeddah/Khartoum | ATS/DS | 07/07/2017 10:14 | 31/07/2017 | 77% | IDU intermittant - services affected - Jeddah Technical staff scoursing spare IDU
1707070018-1 | Jeddah/Sanaá | ATS/DS | 07/07/2017 10:14 | 31/07/2017 | 77% | IDU intermittant - services affected - Jeddah Technical staff scoursing spare IDU
1707070018-1 | Jeddah/Addis | AFTN | 07/07/2017 10:14 | 31/07/2017 | 77% | IDU intermittant - services affected - Jeddah Technical staff scoursing spare IDU
1707070018-1 | Jeddah/Sanaá | AFTN | 07/07/2017 10:14 | 31/07/2017 | 77% | IDU intermittant - services affected - Jeddah Technical staff scoursing spare IDU
1707070018-1 | Jeddah/Khartoum | AFTN | 07/07/2017 10:14 | 31/07/2017 | 77% | IDU intermittant - services affected - Jeddah Technical staff scoursing spare IDU
1706190023-1 | Tripoli/Cairo | ATS/DS | 01/07/2017 | 12/07/2017 16:00 | 61.3% | Restored by local staff and confirmed by Patrick on 18/07/2017
1706190023-1 | Tripoli/Khartoum | ATS/DS | 01/07/2017 | 12/07/2017 16:00 | 61.3% | Restored by local staff and confirmed by Patrick on 18/07/2017
1706190023-1 | Tripoli/Niamey | ATS/DS | 01/07/2017 | 12/07/2017 16:00 | 61.3% | Restored by local staff and confirmed by Patrick on 18/07/2017
1706190023-1 | Tripoli/N'djamena | ATS/DS | 01/07/2017 | 12/07/2017 16:00 | 61.3% | Restored by local staff and confirmed by Patrick on 18/07/2017
1706190023-1 | Tripoli/Cairo | AFTN | 01/07/2017 | 12/07/2017 16:00 | 61.3% | Restored by local staff and confirmed by Patrick on 18/07/2017
1706190023-1 | Tripoli/Khartoum | AFTN | 01/07/2017 | 12/07/2017 16:00 | 61.3% | Restored by local staff and confirmed by Patrick on 18/07/2017
1706190023-1 | Tripoli/Niamey | AFTN | 01/07/2017 | 12/07/2017 16:00 | 61.3% | Restored by local staff and confirmed by Patrick on 18/07/2017
1706190023-1 | Tripoli/N'djamena | AFTN | 01/07/2017 | 12/07/2017 16:00 | 61.3% | Restored by local staff and confirmed by Patrick on 18/07/2017
1707180029-1 | Asmara/Addis | ATS/DS | 07/07/2017 10:00 | 07/07/2017 16:00 | 99.85% | Preventative maintenance
1707180029-1 | Asmara/Djibouti | ATS/DS | 07/07/2017 10:00 | 07/07/2017 16:00 | 99.85% | Preventative maintenance
1707180029-1 | Asmara/Khartoum | ATS/DS | 07/07/2017 10:00 | 07/07/2017 16:00 | 99.85% | Preventative maintenance
1707180029-1 | Asmara/Jeddah | ATS/DS | 07/07/2017 10:00 | 07/07/2017 16:00 | 99.85% | Preventative maintenance
1707180029-1 | Asmara/Sanaá | ATS/DS | 07/07/2017 10:00 | 07/07/2017 16:00 | 99.85% | Preventative maintenance
1707180029-1 | Asmara/Addis | AFTN | 07/07/2017 10:00 | 07/07/2017 16:00 | 99.85% | Preventative maintenance
1707180029-1 | Asmara/Cairo | AFTN | 07/07/2017 10:00 | 07/07/2017 16:00 | 99.85% | Preventative maintenance
1707180029-1 | Asmara/Khartoum | AFTN | 07/07/2017 10:00 | 07/07/2017 16:00 | 99.85% | Preventative maintenance
1707280028-1 | Nairobi/Addis | ATS/DS | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Dar Es Salaam | ATS/DS | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Entebbe | ATS/DS | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Mogadishu | ATS/DS | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Khartoum | ATS/DS | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Victoria | ATS/DS | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Addis | AFTN | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Dar Es Salaam | AFTN | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Entebbe | AFTN | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Mogadishu | AFTN | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Khartoum | AFTN | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Victoria | AFTN | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Jhb | AFTN | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Mauritius | AFTN | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Djibouti | AFTN | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707280028-1 | Nairobi/Cairo | AFTN | 28/07/2017 13:25 | 28/07/2017 13:30 | 99.85% | IDU 5000 causing interferance- switched off -moved all services to new network
1707050037-1 | Mogadishu/Sanaá | ATS/DS | 05/07/2017 11:53 | 05/07/2017 12:19 | 99.85% | Sanaá is not upgraded yet and they were connected to new network in Modadishu
1707100022-1 | Addis/Nairobi | AFTN | 09/07/2017 06:42 | 10/07/2017 08:57 | 98.5% | Reset MEMOTEC in Nairobi - cct on old network -cable for new network suspect
1707210008-1 | Khartoum/Entebbe | ATS/DS | 21/07/2017 05:12 | 21/07/2017 05:12 | 99.85% | Quad FXS card failed moved to spare dual FXS card
1707260049-1 | Cairo/Nairobi | AFTN | 26/07/2017 16:14 | 26/07/2017 16:23 | 99.85% | External - Cable to AMHS in Nairobi suspect
1707120053-1 | Nairobi/Addis | ATS/DS | 08/07/2017 20:00 | 13/07/2017 13:31 | 99.85% | Quad FXS card failed in Nairobi - moved services to old network - services restored on new network after spare card installed