## Availability (June2016)
Summary of System/Circuit outages (June2016)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1606080022-1 | Tripoli | system | 2016-08-06 10:10 | 30/06/2016 23:59 | 26.52% | Both RFT's failed- RFT's shipped through uncheduled freight
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 31/01/2013 | 100% | NMS Statistical software- No affect on service
1401200034-1 | Sana'a | NMS | 20/01/2014 11:23 | 20/01/2014 | 100% | NMS PC- No affect on service - ready for replacement - awaiting safety confirmation to send staff member- RFT u/s need to replace
1506110040-1 | Entebbe MMC | UPS | 11/06/2015 15:04 | 30/06/2015 | 100% | External - UPS failed - needs replacement
1506050043-1 | Entebbe | UPS | 05/06/2015 | 30/06/2015 | 100% | External - UPS failed - needs replacement
1606010013-1 | MMC | IDU | 2016-01-06 09:32 | 2016-01-06 09:33 | 100% | MMc intermittant - no effect on system or network
1606070048-1 | Djibouti | IDU | 2016-07-06 12:14 | 2016-07-06 12:15 | 100% | Intermittancy on IDU - to be replaced
1606090031-1 | Jeddah/Sana'a | AFTN | 2016-09-06 10:17 | 2016-09-06 10:21 | 98.5% | Jeddah AFTN problamatic - RITE units tested VSAT 100% -Restored
1606120015-1 | Asmara | RFT | 2016-12-06 15:14 | 2016-12-06 15:21 | 100% | RFT 2 needs replacement. - No effect on the system operating on Chain 1.
1606140014-1 | Jhb/Entebbe | AFTN | 14/06/2016 08:20 | 14/06/2016 09:00 | 100% | No Fault Found upon investigation
1606150003-1 | Jhb/Victoria | AFTN | 15/06/2016 06:13 | 15/06/2016 08:22 | 99.72% | External - AMHS in Nairobi problamatic - restored
1606160022-1 | Jhb/Victoria | AFTN | 16/06/2016 13:03 | 16/06/2016 13:17 | 99.99% | External - AMHS in Nairobi problamatic - restored - No weather messages were received
1606230032-1 | Entbbe/Nairobi | ATS/DS | 23/06/2016 13:07 | 26/06/2016 08:22 | 99.85% | Elder was in Entebbe for maintenance on the terminal
1606230039-1 | Entebbe/Nairobi | AFTN | 23/06/2016 16:17 | 26/06/2016 11:07 | 98.5% | see previous fault - external AFTN in Nairobi
1606280038-1 | Entebbe | RF Switch | 28/06/2016 10:57 | 26/06/2016 | 100% | RF Switch needs replacement - no effect on services
1606280038-2 | Entebbe | UPS | 28/06/2016 10:57 | 28/06/2016 | 100% | UPS needs replacement - Fault already logged
1606280038-3 | Entebbe | NMS PC | 28/06/2016 10:57 | 28/06/2016 | 100% | Needs replacement - no effect on services
1606280038-4 | Entebbe | RF Switch | 28/06/2016 10:57 | 28/06/2016 | 100% | RF Switch needs replacement - no effect on services
1606280038-5 | Entebbe | RF Switch | 28/06/2016 | 28/06/2016 | 100% | RF Switch needs replacement - no effect on services
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1606080022-1 | Tripoli/Cairo | ATS/DS | 2016-08-06 10:10 | 30/06/2016 23:59 | 26.52% | Both RFT's failed- RFT's shipped through uncheduled freight
1606080022-1 | Tripoli/Khartoum | ATS/DS | 2016-08-06 10:10 | 30/06/2016 23:59 | 26.52% | Both RFT's failed- RFT's shipped through uncheduled freight
1606080022-1 | Tripoli/N'Djamena | ATS/DS | 2016-08-06 10:10 | 30/06/2016 23:59 | 26.52% | Both RFT's failed- RFT's shipped through uncheduled freight
1606080022-1 | Tripoli/Niamey | ATS/DS | 2016-08-06 10:10 | 30/06/2016 23:59 | 26.52% | Both RFT's failed- RFT's shipped through uncheduled freight
1606080022-1 | Tripoli/Cairo | AFTN | 2016-08-06 10:10 | 30/06/2016 23:59 | 26.52% | Both RFT's failed- RFT's shipped through uncheduled freight
1606080022-1 | Tripoli/N'Djamena | AFTN | 2016-08-06 10:10 | 30/06/2016 23:59 | 26.52% | Both RFT's failed- RFT's shipped through uncheduled freight
1606090031-1 | Jeddah/Sana'a | AFTN | 2016-09-06 10:17 | 2016-09-06 10:21 | 98.5% | Jeddah AFTN problamatic - RITE units tested VSAT 100% -Restored
1606150003-1 | Nairobi/Victoria | AFTN | 15/06/2016 06:13 | 15/06/2016 08:22 | 99.72% | External - AMHS in Nairobi problamatic - restored
1606160022-1 | Nairobi/Victoria | AFTN | 16/06/2016 13:03 | 16/06/2016 13:17 | 99.99% | External - AMHS in Nairobi problamatic - restored - No weather messages were received
1606230032-1 | Entbbe/Nairobi | ATS/DS | 23/06/2016 13:07 | 26/06/2016 08:22 | 99.85% | Elder was in Entebbe for maintenance on the terminal
1606230039-1 | Entebbe/Nairobi | AFTN | 23/06/2016 16:17 | 26/06/2016 11:07 | 98.5% | see previous fault - external AFTN in Nairobi