## Availability (June2017)
Summary of System/Circuit outages (June2017)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1706040013-1 | Entebbe | System | 04/06/2017 15:20 | 04/06/2017 15:50 | 99.93% | RFT in Entebbe in Standby mode - restored
1706190023-1 | Tripoli | System | 19/06/2017 06:42 | 19/06/2017 08:30 | 60% | RFT's sent to tripoli and awaiting LOI for site visit
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1706040013-2 | Entebbe/Dar Es Salaam | ATS/DS | 04/06/2017 15:20 | 04/06/2017 15:50 | 99.93% | RFT in Entebbe in Standby mode - see previous fault
1706050138-1 | Nairobi/Mauritius | AFTN | 05/06/2017 14:50 | 05/06/2017 15:00 | 99.99% | External - AFTN in Nairobi
1706070039-1 | Addis/Jeddah | AFTN | 07/06/2017 12:02 | 07/06/2017 12:30 | 100% | No Fault found upon investigation
1706090027-1 | Addis/Nairobi | AFTN | 09/06/2017 10:17 | 09/06/2017 10:42 | 99.85% | External - AMHS in Addis restored
1706150013-1 | Addis/Jeddah | AFTN | 15/06/2017 09:29 | 15/06/2017 10:31 | 99.85% | External - AMHS in Addis restored
1706150014-1 | Addis/Nairobi | AFTN | 15/06/2017 09:32 | 15/06/2017 09:51 | 99.85% | External - AMHS in Addis restored
1706190023-1 | Cairo/Tripoli | AFTN | 19/06/2017 06:42 | 19/06/2017 08:30 | 60% | RFT's sent to tripoli and awaiting LOI for site visit
1706240005-1 | Asmara/Jeddah | ATS/DS | 24/06/2017 06:11 | 24/06/2017 06:15 | 99.85% | Reset IDU in Jeddah
1706260043-1 | Addis/Djibouti | AFTN | 26/06/2017 12:36 | 26/06/2017 12:36 | 100% | No Fault found upon investigation
1706270009-1 | Asmara/Jeddah | ATS/DS | 27/06/2017 07:03 | 27/06/2017 07:03 | 99.85% | Reset IDU in Jeddah - see prev fault
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1706040013-1 | Entebbe/Dar Es Salaam | ATS/DS | 04/06/2017 15:20 | 04/06/2017 15:50 | 99.93% | RFT in Entebbe in Standby mode - restored
1706040013-1 | Entebbe/Kigali | ATS/DS | 04/06/2017 15:20 | 04/06/2017 15:50 | 99.93% | RFT in Entebbe in Standby mode - restored
1706040013-1 | Entebbe/Khartoum | ATS/DS | 04/06/2017 15:20 | 04/06/2017 15:50 | 99.93% | RFT in Entebbe in Standby mode - restored
1706040013-1 | Entebbe/Kinshasa | ATS/DS | 04/06/2017 15:20 | 04/06/2017 15:50 | 99.93% | RFT in Entebbe in Standby mode - restored
1706040013-1 | Entebbe/Nairobi | ATS/DS | 04/06/2017 15:20 | 04/06/2017 15:50 | 99.93% | RFT in Entebbe in Standby mode - restored
1706040013-1 | Entebbe/Nairobi | AFTN | 04/06/2017 15:20 | 04/06/2017 15:50 | 99.93% | RFT in Entebbe in Standby mode - restored
1706040013-1 | Entebbe/Jhb | AFTN | 04/06/2017 15:20 | 04/06/2017 15:50 | 99.93% | RFT in Entebbe in Standby mode - restored
1706190023-1 | Tripoli/Cairo | ATS/DS | 19/06/2017 06:42 | 19/06/2017 08:30 | 60% | RFT's sent to tripoli and awaiting LOI for site visit
1706190023-1 | Tripoli/Khartoum | ATS/DS | 19/06/2017 06:42 | 19/06/2017 08:30 | 60% | RFT's sent to tripoli and awaiting LOI for site visit
1706190023-1 | Tripoli/Niamey | ATS/DS | 19/06/2017 06:42 | 19/06/2017 08:30 | 60% | RFT's sent to tripoli and awaiting LOI for site visit
1706190023-1 | Tripoli/N'djamena | ATS/DS | 19/06/2017 06:42 | 19/06/2017 08:30 | 60% | RFT's sent to tripoli and awaiting LOI for site visit
1706190023-1 | Tripoli/Cairo | AFTN | 19/06/2017 06:42 | 19/06/2017 08:30 | 60% | RFT's sent to tripoli and awaiting LOI for site visit
1706190023-1 | Tripoli/Khartoum | AFTN | 19/06/2017 06:42 | 19/06/2017 08:30 | 60% | RFT's sent to tripoli and awaiting LOI for site visit
1706190023-1 | Tripoli/Niamey | AFTN | 19/06/2017 06:42 | 19/06/2017 08:30 | 60% | RFT's sent to tripoli and awaiting LOI for site visit
1706190023-1 | Tripoli/N'djamena | AFTN | 19/06/2017 06:42 | 19/06/2017 08:30 | 60% | RFT's sent to tripoli and awaiting LOI for site visit
1706050138-1 | Nairobi/Mauritius | AFTN | 05/06/2017 14:50 | 05/06/2017 15:00 | 99.99% | External - AFTN in Nairobi
1706090027-1 | Addis/Nairobi | AFTN | 09/06/2017 10:17 | 09/06/2017 10:42 | 99.85% | External - AMHS in Addis restored
1706150013-1 | Addis/Jeddah | AFTN | 15/06/2017 09:29 | 15/06/2017 10:31 | 99.85% | External - AMHS in Addis restored
1706150014-1 | Addis/Nairobi | AFTN | 15/06/2017 09:32 | 15/06/2017 09:51 | 99.85% | External - AMHS in Addis restored
1706240005-1 | Asmara/Jeddah | ATS/DS | 24/06/2017 06:11 | 24/06/2017 06:15 | 99.85% | Reset IDU in Jeddah
1706270009-1 | Asmara/Jeddah | ATS/DS | 27/06/2017 07:03 | 27/06/2017 07:03 | 99.85% | Reset IDU in Jeddah - see prev fault