## Availability (Jun2018)
Summary of System/Circuit outages (Jun2018)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1806220018-1 | Asmara | System | 22/06/2018 12:20 | 22/08/2018 14:35 | 99.85% | Preventative maintenance
1806220017-1 | Cairo | System | 22/06/2018 12:18 | 22/06/2018 15:00 | 99.85% | Preventative maintenance
1806250050-1 | Mogadishu | System | 25/06/2018 14:03 | 25/06/2018 15:03 | 99.85% | Preventative maintenance
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1806030017-1 | Asmara/Jeddah | AFTN | 03/06/2018 17:23 | 03/06/2018 17:25 | 100% | No Fault Found upon investigation
1806040079-1 | Addis/Jeddah | AFTN | 04/06/2018 07:55 | 04/06/2018 11:20 | 100% | No Fault Found upon investigation
1806120058-1 | Addis/Jeddah | AFTN | 12/06/2018 21:27 | 12/08/2018 22:30 | 99.85% | Changed port on MUX in Addis
1806130035-1 | Entebbe/Dar Es Salaam | ATS/DS | 13/06/2018 13:19 | 13/06/2018 13:36 | 99.96% | Reset both sides IDU and FAD
1806160015-1 | Djibouti/Nairobi | AFTN | 16/06/2018 11:54 | 16/06/2018 13:01 | 99.85% | External - cable connection in Nairobi
1806160018-1 | Nairobi/Plaisance | AFTN | 16/06/2018 13:04 | 16/06/2018 14:35 | 99.8% | Reset FAD in Plaisance
1806160019-1 | Addis/Jeddah | AFTN | 16/06/2018 13:18 | 16/06/2018 15:51 | 99.65% | External - AMSS in Addis problamatic - VSAT 100%
1606250054-1 | Nairobi/Dar Es Salaam | AFTN | 25/06/2018 18:12 | 25/06/2018 18:26 | 99.97% | External - AMSS in Dar problamatic - VSAT 100%
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1806220018-1 | Asmara/Addis | ATS/DS | 22/06/2018 12:20 | 22/08/2018 14:35 | 99.85% | Preventative maintenance
1806220018-1 | Asmara/Djibouti | ATS/DS | 22/06/2018 12:20 | 22/08/2018 14:35 | 99.85% | Preventative maintenance
1806220018-1 | Asmara/Jeddah | ATS/DS | 22/06/2018 12:20 | 22/08/2018 14:35 | 99.85% | Preventative maintenance
1806220018-1 | Asmara/Khartoum | ATS/DS | 22/06/2018 12:20 | 22/08/2018 14:35 | 99.85% | Preventative maintenance
1806220018-1 | Asmara/Sanaá | ATS/DS | 22/06/2018 12:20 | 22/08/2018 14:35 | 99.85% | Preventative maintenance
1806220018-1 | Asmara/Addis | AFTN | 22/06/2018 12:20 | 22/08/2018 14:35 | 99.85% | Preventative maintenance
1806220018-1 | Asmara/Cairo | AFTN | 22/06/2018 12:20 | 22/08/2018 14:35 | 99.85% | Preventative maintenance
1806220018-1 | Asmara/Khartoum | AFTN | 22/06/2018 12:20 | 22/08/2018 14:35 | 99.85% | Preventative maintenance
1806220017-1 | Cairo/Jeddah | ATS/DS | 22/06/2018 12:18 | 22/06/2018 15:00 | 99.85% | Preventative maintenance
1806220017-1 | Cairo/Khartoum | ATS/DS | 22/06/2018 12:18 | 22/06/2018 15:00 | 99.85% | Preventative maintenance
1806220017-1 | Cairo/Tripoli | ATS/DS | 22/06/2018 12:18 | 22/06/2018 15:00 | 99.85% | Preventative maintenance
1806220017-1 | Cairo/Asmara | AFTN | 22/06/2018 12:18 | 22/06/2018 15:00 | 99.85% | Preventative maintenance
1806220017-1 | Cairo/Nairobi | AFTN | 22/06/2018 12:18 | 22/06/2018 15:00 | 99.85% | Preventative maintenance
1806220017-1 | Cairo/Khartoum | AFTN | 22/06/2018 12:18 | 22/06/2018 15:00 | 99.85% | Preventative maintenance
1806220017-1 | Cairo/Triopoli | AFTN | 22/06/2018 12:18 | 22/06/2018 15:00 | 99.85% | Preventative maintenance
1806250050-1 | Mogadishu/Addis | ATS/DS | 25/06/2018 14:03 | 25/06/2018 15:03 | 99.85% | Preventative maintenance
1806250050-1 | Mogadishu/Djibouti | ATS/DS | 25/06/2018 14:03 | 25/06/2018 15:03 | 99.85% | Preventative maintenance
1806250050-1 | Mogadishu/Nairobi | ATS/DS | 25/06/2018 14:03 | 25/06/2018 15:03 | 99.85% | Preventative maintenance
1806250050-1 | Mogadishu/Victoria | ATS/DS | 25/06/2018 14:03 | 25/06/2018 15:03 | 99.85% | Preventative maintenance
1806250050-1 | Mogadishu/Sanaá | ATS/DS | 25/06/2018 14:03 | 25/06/2018 15:03 | 99.85% | Preventative maintenance
1806250050-1 | Mogadishu/Nairobi | AFTN | 25/06/2018 14:03 | 25/06/2018 15:03 | 99.85% | Preventative maintenance
1806120058-1 | Addis/Jeddah | AFTN | 12/06/2018 21:27 | 12/08/2018 22:30 | 99.85% | Changed port on MUX in Addis
1806130035-1 | Entebbe/Dar Es Salaam | ATS/DS | 13/06/2018 13:19 | 13/06/2018 13:36 | 99.96% | Reset both sides IDU and FAD
1806160015-1 | Djibouti/Nairobi | AFTN | 16/06/2018 11:54 | 16/06/2018 13:01 | 99.85% | External - cable connection in Nairobi
1806160018-1 | Nairobi/Plaisance | AFTN | 16/06/2018 13:04 | 16/06/2018 14:35 | 99.8% | Reset FAD in Plaisance
1806160019-1 | Addis/Jeddah | AFTN | 16/06/2018 13:18 | 16/06/2018 15:51 | 99.65% | External - AMSS in Addis problamatic - VSAT 100%
1606250054-1 | Nairobi/Dar Es Salaam | AFTN | 25/06/2018 18:12 | 25/06/2018 18:26 | 99.97% | External - AMSS in Dar problamatic - VSAT 100%