## Availability (June2016)
Summary of System/Circuit outages (June2016)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1606130067-1 | Lilongwe | System | 13/06/2016 16:31 | 13/06/2016 16:35 | 99.85% | Replace IDU and RFT in Lilongwe
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1601120035-1 | Lusaka | UPS | 2016-12-01 16:38 | 2016-12-01 16:40 | 100% | External - UPS U/S, no effect on service
1601120037-1 | Lusaka | Rf Switch | 2016-12-01 16:41 | 2016-12-01 16:43 | 100% | RF Swicth stuck in one position. Switching needs to be made manually - needs replacement
1606030046-1 | Jhb/Gaborone | ATS/DS | 2016-03-06 16:19 | 2016-03-06 16:40 | 100% | No Fault Found upon investigation
1606080021-1 | Harare/Gaborone | ATS/DS | 2016-08-06 09:42 | 2016-08-06 09:49 | 99.99% | Reset MUX in Harare
1606130067-2 | Lilongwe | IDU/RFT | 16/06/2016 | 23/06/2016 | 100% | Part replacement - see1606130067-1
1606160010-1 | Bujumbura | AFTN | 16/06/2016 04:48 | 16/06/2016 14:12 | 100% | No Fault Found upon investigation
1606160011-1 | Harare/Jhb | AFTN | 16/06/2016 04:50 | 16/06/2016 14:10 | 98.68% | External - NAMIP in Jhb faulty - reset- service restored
1606160012-1 | Jhb/Nairobi | AFTN | 16/06/2016 04:55 | 16/06/2016 14:11 | 98.68% | External - Nairobi AMHS system
1606300093-1 | Antana/Jhb | ATS/DS | 30/06/2016 10:21 | 30/06/2016 10:40 | 99.99% | Reset SKYWAN in Antana
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1606130067-1 | Lilongwe/Beira | ATS/DS | 13/06/2016 16:31 | 13/06/2016 16:35 | 99.85% | Replace IDU and RFT in Lilongwe
1606130067-1 | Lilongwe/Harare | ATS/DS | 13/06/2016 16:31 | 13/06/2016 16:35 | 99.85% | Replace IDU and RFT in Lilongwe
1606130067-1 | Lilongwe/Lusaka | ATS/DS | 13/06/2016 16:31 | 13/06/2016 16:35 | 99.85% | Replace IDU and RFT in Lilongwe
1606130067-1 | Lilongwe/Dar Es Salaam | ATS/DS | 13/06/2016 16:31 | 13/06/2016 16:35 | 99.85% | Replace IDU and RFT in Lilongwe
1606130067-1 | Lilongwe/Jhb | AFTN | 13/06/2016 16:31 | 13/06/2016 16:35 | 99.85% | Replace IDU and RFT in Lilongwe
1606080021-1 | Harare/Gaborone | ATS/DS | 2016-08-06 09:42 | 2016-08-06 09:49 | 99.99% | Reset MUX in Harare
1606160011-1 | Harare/Jhb | AFTN | 16/06/2016 04:50 | 16/06/2016 14:10 | 98.68% | External - NAMIP in Jhb faulty - reset- service restored
1606160012-1 | Jhb/Nairobi | AFTN | 16/06/2016 04:55 | 16/06/2016 14:11 | 98.68% | External - Nairobi AMHS system
1606300093-1 | Antana/Jhb | ATS/DS | 30/06/2016 10:21 | 30/06/2016 10:40 | 99.99% | Reset SKYWAN in Antana