## Availability (March2017)
Summary of System/Circuit outages (March2017)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1703070083-1 | Mogadishu | system | 07/03/2017 15:37 | 10/03/2017 16:00 | 100% | Upgrade in progress
1703070083-1 | Mogadishu | system | 07/03/2017 15:37 | 10/03/2017 16:00 | 99.85% | Preventative maintenance
1703100041-1 | Nairobi | system | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703250010-1 | Entebbe | System | 25/03/2017 10:03 | 25/03/2017 11:30 | 100% | Reset HP switch - no effect on service
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1703120005-1 | Entebbe/Nairobi | IDU | 12/03/2017 08:21 | 12/03/2017 10:18 | 100% | IDU 2570 is not operational yet. All services are on old network.
1401200034-1 | Sana'a | NMS | 20/01/2014 11:23 | 20/01/2014 | 100% | NMS PC- No affect on service - ready for replacement - awaiting safety confirmation to send staff member- RFT u/s need to replace
1703130045-1 | Entebbe/Nairobi | AFTN | 13/03/2017 09:00 | 13/03/2017 09:15 | 99.85% | External - AFTN system in Nairobi restored
1703180010-1 | Victoria/Jhb | AFTN | 18/03/2017 06:58 | 18/03/2017 08:00 | 100% | External - MET messages are sent from Nairobi and they restored it
1703210024-1 | Mogadishu/Nairobi | AFTN | 21/03/2017 11:16 | 21/03/2017 11:20 | 98.5% | Port settings on the Nairobi AMHS system were restored.
1703230015-1 | Addis/Nairobi | AFTN | 23/03/2017 10:30 | 23/03/2017 11:40 | 99.8% | External - cable from Addis AMSS
1703270045-1 | Jeddah/Sana'a | AFTN | 27/03/2017 18:32 | 27/03/2017 18;48 | 99.85% | External - AFTN in Sana'a suspected
1703300009-1 | Entebbe/Nairobi | AFTN | 30/03/2017 07:02 | 30/03/2017 07:02 | 100% | No fault found
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1703070083-1 | Mogadishu/Addis | ATS/DS | 07/03/2017 15:37 | 10/03/2017 16:00 | 99.85% | Preventative maintenance
1703070083-1 | Mogadishu/Djibouti | ATS/DS | 07/03/2017 15:37 | 10/03/2017 16:00 | 99.85% | Preventative maintenance
1703070083-1 | Mogadishu/Sana'a | ATS/DS | 07/03/2017 15:37 | 10/03/2017 16:00 | 99.85% | Preventative maintenance
1703070083-1 | Mogadishu/Nairobi | ATS/DS | 07/03/2017 15:37 | 10/03/2017 16:00 | 99.85% | Preventative maintenance
1703070083-1 | Mogadishu/Victoria | ATS/DS | 07/03/2017 15:37 | 10/03/2017 16:00 | 99.85% | Preventative maintenance
1703070083-1 | Mogadishu/Nairobi | AFTN | 07/03/2017 15:37 | 10/03/2017 16:00 | 99.85% | Preventative maintenance
1703100041-1 | Nairobi/Addis | ATS/DS | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Dar Es Salaam | ATS/DS | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Entebbe | ATS/DS | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Khartoum | ATS/DS | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Victoria | ATS/DS | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Mogadishu | ATS/DS | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Jhb | AFTN | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Addis | AFTN | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Dar Es Salaam | AFTN | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Cairo | AFTN | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Jhb | AFTN | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Entebbe | AFTN | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Victoria | AFTN | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | NairobiPlaisance | AFTN | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Mogadishu | AFTN | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703100041-1 | Nairobi/Djibouti | AFTN | 10/03/2017 18:45 | 10/03/2017 19:15 | 99.85% | Reset IDU in Nairobi
1703130045-1 | Entebbe/Nairobi | AFTN | 13/03/2017 09:00 | 13/03/2017 09:15 | 99.85% | External - AFTN system in Nairobi restored
1703210024-1 | Mogadishu/Nairobi | AFTN | 21/03/2017 11:16 | 21/03/2017 11:20 | 98.5% | Port settings on the Nairobi AMHS system were restored.
1703230015-1 | Addis/Nairobi | AFTN | 23/03/2017 10:30 | 23/03/2017 11:40 | 99.8% | External - cable from Addis AMSS
1703270045-1 | Jeddah/Sana'a | AFTN | 27/03/2017 18:32 | 27/03/2017 18;48 | 99.85% | External - AFTN in Sana'a suspected