## Availability (March2019)
Summary of System/Circuit outages (March2019)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1902230012-1 | Mogadishu | System | 23/02/2019 14:17 | 23/02/2019 14:20 | 99.99% | M&C cable causing system to switch and cross RF chains - cable needs replacement
1903280025-1 | Entebbe | System | 28/03/2019 11:20 | 28/03/2019 12:00 | 99.92% | Preventative maintenance
1903260028-1 | Entebbe | System | 26/03/2019 10:30 | 26/03/2019 10:32 | 99.99% | Combiner failed - restored
1903280038-1 | Entebbe MMC | System | 28/03/2019 11:57 | 28/03/2019 12:06 | 99.99% | Preventative maintenance
1903290054-1 | Sanaá | RFT | 29/03/2019 17:24 | 29/03/2019 17:34 | 99.98% | RFT's restored
1903200018-1 | Dar Es Salaam | System | 20/03/2019 07:53 | 20/03/2019 09:01 | 99.87% | External - Mains supply failure beyond UPS capacity
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1903310022-1 | Entebbe /Jhb | AFTN | 31/03/2019 15:40 | 31/03/2019 15:45 | 99.99% | External AMSS system in Entebbe
1903050043-1 | Entebbe/Jhb | AFTN | 05/03/2019 17:09 | 05/03/2019 17:15 | 99.99% | External AMSS system in Entebbe
1903200037-1 | Victoria | ATS/DS | 20/03/2019 11:10 | 20/03/2019 11:27 | 100% | No Fault found upon investigation
1903230018-1 | Entebbe/Nairobi | ATS/DS | 23/03/2019 13:55 | 23/03/2019 14:00 | 99.99% | Reset IDU and MUX in Nairobi
1903270039-1 | Addis/Nairobi | ATS/DS | 27/03/2019 17:56 | 27/03/2019 17:59 | 99.99% | No Fault found upon investigation
1903280041-1 | Asmara/Khartoum | AFTN | 28/03/2019 13:07 | 28/03/2019 13:12 | 99.99% | No Fault found upon investigation
1903300013-1 | Mogadishu | ATS/DS | 30/03/2019 10:57 | 30/03/2019 11:12 | 99.97% | Idu loosing lock
1903310026-1 | Jeddah/Sanaá | ATS/DS | 31/03/2019 18:06 | 31/06/2019 18:10 | 99.99% | No Fault found upon investigation
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1903280025-1 | Entebbe/Bujumbura | ATS/DS | 28/03/2019 11:20 | 28/03/2019 12:00 | 99.92% | Preventative maintenance
1903280025-1 | Entebbe/Kigali | ATS/DS | 28/03/2019 11:20 | 28/03/2019 12:00 | 99.92% | Preventative maintenance
1903280025-1 | Entebbe/Kinshasa | ATS/DS | 28/03/2019 11:20 | 28/03/2019 12:00 | 99.92% | Preventative maintenance
1903280025-1 | Entebbe/Nairobi | ATS/DS | 28/03/2019 11:20 | 28/03/2019 12:00 | 99.92% | Preventative maintenance
1903280025-1 | Entebbe/Khartoum | ATS/DS | 28/03/2019 11:20 | 28/03/2019 12:00 | 99.92% | Preventative maintenance
1903280025-1 | Entebbe/Nairobi | AFTN | 28/03/2019 11:20 | 28/03/2019 12:00 | 99.92% | Preventative maintenance
1903280025-1 | Entebbe/Jhb | AFTN | 28/03/2019 11:20 | 28/03/2019 12:00 | 99.92% | Preventative maintenance
1903290054-1 | Sanaá/Addis | ATS/DS | 29/03/2019 17:24 | 29/03/2019 17:34 | 99.98% | RFT's restored
1903290054-1 | Sanaá/Asmara | ATS/DS | 29/03/2019 17:24 | 29/03/2019 17:34 | 99.98% | RFT's restored
1903290054-1 | Sanaá/Mogadishu | ATS/DS | 29/03/2019 17:24 | 29/03/2019 17:34 | 99.98% | RFT's restored
1903290054-1 | Sanaá/Djibouti | ATS/DS | 29/03/2019 17:24 | 29/03/2019 17:34 | 99.98% | RFT's restored
1903290054-1 | Sanaá/Jeddah | ATS/DS | 29/03/2019 17:24 | 29/03/2019 17:34 | 99.98% | RFT's restored
1903290054-1 | Sanaá/Jeddah | AFTN | 29/03/2019 17:24 | 29/03/2019 17:34 | 99.98% | RFT's restored
1903290054-1 | Sanaá/Addis | AFTN | 29/03/2019 17:24 | 29/03/2019 17:34 | 99.98% | RFT's restored
1903200018-1 | Dar Es Salaam/Entebbe | ATS/DS | 20/03/2019 07:53 | 20/03/2019 09:01 | 99.87% | External - Mains supply failure beyond UPS capacity
1903200018-1 | Dar Es Salaam/Nairobi | ATS/DS | 20/03/2019 07:53 | 20/03/2019 09:01 | 99.87% | External - Mains supply failure beyond UPS capacity
1903200018-1 | Dar Es Salaam/Victoria | ATS/DS | 20/03/2019 07:53 | 20/03/2019 09:01 | 99.87% | External - Mains supply failure beyond UPS capacity
1903200018-1 | Dar Es Salaam/Jhb | AFTN | 20/03/2019 07:53 | 20/03/2019 09:01 | 99.87% | External - Mains supply failure beyond UPS capacity
1903200018-1 | Dar Es Salaam/Nairobi | AFTN | 20/03/2019 07:53 | 20/03/2019 09:01 | 99.87% | External - Mains supply failure beyond UPS capacity
1903310022-1 | Entebbe /Jhb | AFTN | 31/03/2019 15:40 | 31/03/2019 15:45 | 99.99% | External AMSS system in Entebbe
1903050043-1 | Entebbe/Jhb | AFTN | 05/03/2019 17:09 | 05/03/2019 17:15 | 99.99% | External AMSS system in Entebbe
1903230018-1 | Entebbe/Nairobi | ATS/DS | 23/03/2019 13:55 | 23/03/2019 14:00 | 99.99% | Reset IDU and MUX in Nairobi
1903270039-1 | Addis/Nairobi | ATS/DS | 27/03/2019 17:56 | 27/03/2019 17:59 | 99.99% | No Fault found upon investigation
1903280041-1 | Asmara/Khartoum | AFTN | 28/03/2019 13:07 | 28/03/2019 13:12 | 99.99% | No Fault found upon investigation
1903300013-1 | Mogadishu | ATS/DS | 30/03/2019 10:57 | 30/03/2019 11:12 | 99.97% | Idu loosing lock
1903310026-1 | Jeddah/Sanaá | ATS/DS | 31/03/2019 18:06 | 31/06/2019 18:10 | 99.99% | No Fault found upon investigation