## Availability (Mar2016)
Summary of System/Circuit outages (Mar2016)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1603010034-1 | Dar Es Salaam | system | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1402210027-2 | Kinshasa | NMS PC | 21/02/2014 09:27 | 21/02/2014 09:28 | 100% | NMS PC needs new OS
1601120035-1 | Lusaka | UPS | 2016-12-01 16:38 | 2016-12-01 16:40 | 100% | External - UPS U/S, no effect on service
1601120037-1 | Lusaka | Rf Switch | 2016-12-01 16:41 | 2016-12-01 16:43 | 100% | RF Swicth stuck in one position. Switching needs to be made manually - needs replacement
1603020020-1 | Lusaka | RFT | 2016-02-03 09:18 | 2016-02-03 09:27 | 100% | Switch to redundant chain - RFT needs replacement-shipped to Lusaka
1603030042-1 | Kigali/Jhb | AFTN | 2016-03-03 23:25 | 2016-04-04 | 98.5% | External - AFTN in Kigali - Sammy
1603040014-1 | Luanda/Jhb | AFTN | 2016-04-03 08:53 | 2016-04-03 09:34 | 100% | No Fault Found - fault cleared upon investigation
1603070107-1 | Kinshasa/Entebbe | ATS/DS | 2016-05-03 15:42 | 2016-05-03 16:10 | 98.5% | External - F/O multiplexer was damaged by big storm
1603110045-1 | Luanda/Brazzaville | AFTN | 2016-11-03 14:51 | 2016-11-03 15:00 | 100% | No Fault Found - fault cleared upon investigation
1603210027-1 | Gaborone/Jhb | ATS/DS | 21/03/2016 14:10 | 21/03/2016 14:27 | 99.99% | No Fault Found - fault cleared upon investigation- saw a dip in circular grade on the IDU
1603210030-1 | Dar Es Salaam | LNB | 21/03/2016 16:12 | 21/03/2016 16:13 | 100% | Chain 2 operating - no effect on service - LNB shipped
1603240056-1 | Lilongwe/Jhb | AFTN | 24/03/2016 15:00 | 24/03/2016 16:35 | 99.8% | External - AFTN PC in tower causing loading
1603240057-1 | Beira/Lilongwe | ATS/DS | 24/03/2016 16:45 | 24/03/2016 17:25 | 99.85% | Reset IDU in Lilongwe
1603280026-1 | Beira/Lilongwe | ATS/DS | 28/03/2016 08:26 | 28/03/2016 08:10 | 99.95% | External - telephone cable replaced in Lilongwe
1603280042-1 | Jhb/Harare | ATS/DS | 28/03/2016 21:25 | 28/03/2016 21:25 | 99.99% | Reset MUX in Harare
1603290030-1 | Gaborone/Jhb | ATS/DS | 29/03/2016 13:30 | 29/03/2016 13:49 | 100% | No Fault Found - fault cleared upon investigation
1603290042-1 | Dar Es Salaam/Nairobi | ATS/DS | 29/03/2016 20:38 | 30/03/2016 09:42 | 99.85% | Reset IDU in Dar Es Salaam - monitored to 30/03/2016 - all good
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1603010034-1 | Dar Es Salaam/Antananarivo | ATS/DS | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603010034-1 | Dar Es Salaam/Beira | ATS/DS | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603010034-1 | Dar Es Salaam/Bujumbura | ATS/DS | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603010034-1 | Dar Es Salaam/Entebbe | ATS/DS | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603010034-1 | Dar Es Salaam/Lilongwe | ATS/DS | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603010034-1 | Dar Es Salaam/Kigali | ATS/DS | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603010034-1 | Dar Es Salaam/Kinshasa | ATS/DS | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603010034-1 | Dar Es Salaam/Lusaka | ATS/DS | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603010034-1 | Dar Es Salaam/Nairobi | ATS/DS | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603010034-1 | Dar Es Salaam/Victoria | ATS/DS | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603010034-1 | Dar Es Salaam/Jhb | AFTN | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603010034-1 | Dar Es Salaam/Nairobi | AFTN | 2016-01-03 13:30 | 2016-01-03 14:00 | 99.85% | RF switch stuck in wrong position - Restored
1603030042-1 | Kigali/Jhb | AFTN | 2016-03-03 23:25 | 2016-04-04 | 98.5% | External - AFTN in Kigali - Sammy
1603070107-1 | Kinshasa/Entebbe | ATS/DS | 2016-05-03 15:42 | 2016-05-03 16:10 | 98.5% | External - F/O multiplexer was damaged by big storm
1603210027-1 | Gaborone/Jhb | ATS/DS | 21/03/2016 14:10 | 21/03/2016 14:27 | 99.99% | No Fault Found - fault cleared upon investigation- saw a dip in circular grade on the IDU
1603240056-1 | Lilongwe/Jhb | AFTN | 24/03/2016 15:00 | 24/03/2016 16:35 | 99.8% | External - AFTN PC in tower causing loading
1603240057-1 | Beira/Lilongwe | ATS/DS | 24/03/2016 16:45 | 24/03/2016 17:25 | 99.85% | Reset IDU in Lilongwe
1603280026-1 | Beira/Lilongwe | ATS/DS | 28/03/2016 08:26 | 28/03/2016 08:10 | 99.95% | External - telephone cable replaced in Lilongwe
1603280042-1 | Jhb/Harare | ATS/DS | 28/03/2016 21:25 | 28/03/2016 21:25 | 99.99% | Reset MUX in Harare
1603290042-1 | Dar Es Salaam/Nairobi | ATS/DS | 29/03/2016 20:38 | 30/03/2016 09:42 | 99.85% | Reset IDU in Dar Es Salaam - monitored to 30/03/2016 - all good