## Availability (March2017)
Summary of System/Circuit outages (March2017)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1703070080-1 | Kinshasa | System | 07/03/2017 15:35 | 14/03/2017 22:00 | 100% | System Upgrade and relocation - alternative arrangements was done for services
1703070080-1 | Kinshasa | System | 07/03/2017 15:35 | 14/03/2017 22:00 | 99.85% | Preventative maintenance
1703070081-1 | Harare | System | 07/03/2017 15:36 | 07/03/2017 15:44 | 100% | Upgrade concluded - no effect on services
1703250024-1 | Lusaka | system | 25/03/2017 14:28 | 26/03/2017 14:11 | 98.5% | External - Mains failure bejond the UPS capacity
1703290018-1 | Kigali | System | 29/03/2017 11:19 | 02/04/2017 16:00 | 100% | System Upgrade - alternative arrangements was done for services - PM
1703290019-1 | Kigali | System | 29/03/2017 11:21 | 29/03/2017 16:00 | 99.85% | Preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1703030026-1 | Harare | UPS | 03/03/2017 09:20 | 06/03/2017 09:00 | 100% | Replaced UPS - no effect on service
1703040014-1 | Beira/Harare | ATS/DS | 04/03/2017 16:00 | 04/03/2017 16:15 | 99.85% | Reset IDU in Beira
1703060102-1 | Bujumbura/Jhb | AFTN | 06/03/2017 10:29 | 06/03/2017 10:31 | 100% | External - IAT PC - No Fault found
1703070093-1 | Jhb/Maputo | ATS/DS | 07/03/2017 21:48 | 07/03/2017 22:00 | 99.85% | Reset MUX in Maputo
1703080025-1 | Luanda/Accra | ATS/DS | 08/03/2017 11:05 | 08/03/2017 11:30 | 98.5% | Reset DATUM Modem in Luanda
1703100037-1 | Windhoek | ATS/DS | 10/03/2017 13:42 | 10/03/2017 14:00 | 100% | No fault found
1703150031-1 | Jhb/Maseru | AFTN | 15/03/2017 09:57 | 22/03/2017 12:32 | 99.85% | Replaced FAD
1703160014-1 | Jhb/Kigali | AFTN | 15/03/2017 21:45 | 16/03/2017 08:30 | 100% | No fault found
1703160032-1 | Dar Es Salaam/Lusaka | ATS/DS | 16/03/2017 13:17 | 17/03/2017 13:30 | 100% | No fault found
1703180007-1 | Beira/Jhb | AFTN | 18/03/2017 06:51 | 18/03/2017 10:39 | 98.5% | External - Cable faulty
1703180008-1 | Jhb/Windhoek | AFTN | 18/03/2017 06:53 | 18/03/2017 08:10 | 99.85% | External - Cable faulty
1703210014-1 | Beira/Harare | ATS/DS | 21/03/2017 07:31 | 21/03/2017 08:00 | 99.85% | Reconnected line and restored
1703210030-1 | Bujumbura/Jhb | AFTN | 21/03/2017 17:18 | 21/03/2017 17:20 | 98.5% | External - cable faulty and PC suspect
1703280019-1 | Harare/Lusaka | ATS/DS | 28/03/2017 08:06 | 28/03/2017 08:39 | 98.5% | Mux interface card faulty- reverted to old network
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1703070080-1 | Kinshasa/Brazzaville | ATS/DS | 07/03/2017 15:35 | 14/03/2017 22:00 | 99.85% | Preventative maintenance
1703070080-1 | Kinshasa/Dar Es Salaam | ATS/DS | 07/03/2017 15:35 | 14/03/2017 22:00 | 99.85% | Preventative maintenance
1703070080-1 | Kinshasa/Bujumbura | ATS/DS | 07/03/2017 15:35 | 14/03/2017 22:00 | 99.85% | Preventative maintenance
1703070080-1 | Kinshasa/Kigali | ATS/DS | 07/03/2017 15:35 | 14/03/2017 22:00 | 99.85% | Preventative maintenance
1703070080-1 | Kinshasa/Lusaka | ATS/DS | 07/03/2017 15:35 | 14/03/2017 22:00 | 99.85% | Preventative maintenance
1703070080-1 | Kinshasa/Entebbe | ATS/DS | 07/03/2017 15:35 | 14/03/2017 22:00 | 99.85% | Preventative maintenance
1703070080-1 | Kinshasa/Khatoum | ATS/DS | 07/03/2017 15:35 | 14/03/2017 22:00 | 99.85% | Preventative maintenance
1703070080-1 | Kinshasa/Luanda | ATS/DS | 07/03/2017 15:35 | 14/03/2017 22:00 | 99.85% | Preventative maintenance
1703070080-1 | Kinshasa/Brzzaville | AFTN | 07/03/2017 15:35 | 14/03/2017 22:00 | 99.85% | Preventative maintenance
1703070080-1 | Kinshasa/Jhb | AFTN | 07/03/2017 15:35 | 14/03/2017 22:00 | 99.85% | Preventative maintenance
1703250024-1 | Lusaka/Beira | ATS/DS | 25/03/2017 14:28 | 26/03/2017 14:11 | 98.5% | External - Mains failure bejond the UPS capacity
1703250024-1 | Lusaka/Harare | ATS/DS | 25/03/2017 14:28 | 26/03/2017 14:11 | 98.5% | External - Mains failure bejond the UPS capacity
1703250024-1 | Lusaka/Gaborone | ATS/DS | 25/03/2017 14:28 | 26/03/2017 14:11 | 98.5% | External - Mains failure bejond the UPS capacity
1703250024-1 | Lusaka/Kinshasa | ATS/DS | 25/03/2017 14:28 | 26/03/2017 14:11 | 98.5% | External - Mains failure bejond the UPS capacity
1703250024-1 | Lusaka/Lilongwe | ATS/DS | 25/03/2017 14:28 | 26/03/2017 14:11 | 98.5% | External - Mains failure bejond the UPS capacity
1703250024-1 | Lusaka/Dar Es Salaam | ATS/DS | 25/03/2017 14:28 | 26/03/2017 14:11 | 98.5% | External - Mains failure bejond the UPS capacity
1703250024-1 | Lusaka/Luanda | ATS/DS | 25/03/2017 14:28 | 26/03/2017 14:11 | 98.5% | External - Mains failure bejond the UPS capacity
1703250024-1 | Lusaka/Windhoek | ATS/DS | 25/03/2017 14:28 | 26/03/2017 14:11 | 98.5% | External - Mains failure bejond the UPS capacity
1703250024-1 | Lusaka/Jhb | AFTN | 25/03/2017 14:28 | 26/03/2017 14:11 | 98.5% | External - Mains failure bejond the UPS capacity
1703290019-1 | Kigali/Bujumbura | ATS/DS | 29/03/2017 11:21 | 29/03/2017 16:00 | 99.85% | Preventative maintenance
1703290019-1 | Kigali/Kinshasa | ATS/DS | 29/03/2017 11:21 | 29/03/2017 16:00 | 99.85% | Preventative maintenance
1703290019-1 | Kigali/Entebbe | ATS/DS | 29/03/2017 11:21 | 29/03/2017 16:00 | 99.85% | Preventative maintenance
1703290019-1 | Kigali/Dar Es Salaam | ATS/DS | 29/03/2017 11:21 | 29/03/2017 16:00 | 99.85% | Preventative maintenance
1703290019-1 | Kigali/Jhb | AFTN | 29/03/2017 11:21 | 29/03/2017 16:00 | 99.85% | Preventative maintenance
1703180007-1 | Beira/Jhb | AFTN | 18/03/2017 06:51 | 18/03/2017 10:39 | 98.5% | External - Cable faulty
1703180008-1 | Jhb/Windhoek | AFTN | 18/03/2017 06:53 | 18/03/2017 08:10 | 99.85% | External - Cable faulty
1703210014-1 | Beira/Harare | ATS/DS | 21/03/2017 07:31 | 21/03/2017 08:00 | 99.85% | Reconnected line and restored
1703210030-1 | Bujumbura/Jhb | AFTN | 21/03/2017 17:18 | 21/03/2017 17:20 | 98.5% | External - cable faulty and PC suspect
1703280019-1 | Harare/Lusaka | ATS/DS | 28/03/2017 08:06 | 28/03/2017 08:39 | 98.5% | Mux interface card faulty- reverted to old network
1703040014-1 | Beira/Harare | ATS/DS | 04/03/2017 16:00 | 04/03/2017 16:15 | 99.85% | Reset IDU in Beira
1703070093-1 | Jhb/Maputo | ATS/DS | 07/03/2017 21:48 | 07/03/2017 22:00 | 99.85% | Reset MUX in Maputo
1703080025-1 | Luanda/Accra | ATS/DS | 08/03/2017 11:05 | 08/03/2017 11:30 | 98.5% | Reset DATUM Modem in Luanda
1703150031-1 | Jhb/Maseru | AFTN | 15/03/2017 09:57 | 22/03/2017 12:32 | 99.85% | Replaced FAD