## Availability (May2017)
Summary of System/Circuit outages (May2017)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1705040041-1 | Dar Es Salaam/Entebbe | ATS/DS | 04/05/2017 17:38 | 04/05/2017 17:52 | 99.85% | External - VCCS in Entebbe
1705060011-1 | Addis/Nairobi | AFTN | 06/05/2017 08:41 | 06/05/2017 08:50 | 99.85% | External - AMHS in Addis
1705060022-1 | Addis/Nairobi | ATS/DS | 06/05/2017 18:46 | 06/05/2017 18:49 | 99.85% | External VCCS in Nairobi
1705060023-1 | Victoria/Mogadishu | ATS/DS | 06/05/2017 18:47 | 06/05/2017 12:14 | 99.85% | Reset FAD in Mogadishu
1705070018-1 | Jhb/Victoria | AFTN | 05/05/2017 17:31 | 05/05/2017 19:00 | 99.8% | External - cabling in Jhb
1705140004-1 | Jhb/Victoria | AFTN | 14/05/2017 06:58 | 14/05/2017 07:03 | 100% | Messages from Nairobi not being received - restored
1705200011-1 | Mogadishu/Nairobi | ATS/DS | 20/05/2017 10:43 | 20/05/2017 10:59 | 100% | No Fault found upon investigation
1705230040-1 | Addis/Nairobi | AFTN | 23/05/2017 17:09 | 23/05/2017 18:24 | 100% | No Fault found upon investigation
1705260013-1 | Addis/Nairobi | ATS/DS | 26/05/2017 08:01 | 26/05/2017 08:10 | 99.8% | External - VCCS in Addis restored
1705290089-1 | Addis/Nairobi | ATS/DS | 27/05/2017 10:46 | 27/05/2017 10:46 | 98.5% | External - VCCS in Addis restored
1705300039-1 | Addis/Jeddah | AFTN | 30/05/2017 15:06 | 30/05/2017 15:15 | 99.85% | Reset Mux in Addis
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1705040041-1 | Dar Es Salaam/Entebbe | ATS/DS | 04/05/2017 17:38 | 04/05/2017 17:52 | 99.85% | External - VCCS in Entebbe
1705060011-1 | Addis/Nairobi | AFTN | 06/05/2017 08:41 | 06/05/2017 08:50 | 99.85% | External - AMHS in Addis
1705060022-1 | Addis/Nairobi | ATS/DS | 06/05/2017 18:46 | 06/05/2017 18:49 | 99.85% | External VCCS in Nairobi
1705060023-1 | Victoria/Mogadishu | ATS/DS | 06/05/2017 18:47 | 06/05/2017 12:14 | 99.85% | Reset FAD in Mogadishu
1705070018-1 | Jhb/Victoria | AFTN | 05/05/2017 17:31 | 05/05/2017 19:00 | 99.8% | External - cabling in Jhb
1705260013-1 | Addis/Nairobi | ATS/DS | 26/05/2017 08:01 | 26/05/2017 08:10 | 99.8% | External - VCCS in Addis restored
1705290089-1 | Addis/Nairobi | ATS/DS | 27/05/2017 10:46 | 27/05/2017 10:46 | 98.5% | External - VCCS in Addis restored
1705300039-1 | Addis/Jeddah | AFTN | 30/05/2017 15:06 | 30/05/2017 15:15 | 99.85% | Reset Mux in Addis