## Availability (May2018)
Summary of System/Circuit outages (May2018)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1805040009-1 | Djibouti/Nairobi | AFTN | 04/05/2018 04:26 | 04/05/2018 08:05 | 100% | No Fault Found upon investigation
1805080121-1 | Jeddah/Sana'a | AFTN | 08/05/2018 13:40 | 08/05/2018 14:27 | 100% | External - port on AFTN in Jeddah faulty - messages going through Khartoum
1805080123-1 | Addis/Jeddah | AFTN | 08/05/2018 14:07 | 08/05/2018 14:27 | 100% | No Fault Found upon investigation
1805240007-1 | Asmara/Jeddah | ATS/DS | 24/05/2018 03:53 | 24/05/2018 05:00 | 99.85% | Reset MUX in Asmara
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1805240007-1 | Asmara/Jeddah | ATS/DS | 24/05/2018 03:53 | 24/05/2018 05:00 | 99.85% | Reset MUX in Asmara