## Availability (May2016)
Summary of System/Circuit outages (May2016)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 30/11/2012 | 100% | NMS Statistical data - No effect on Service
1601120035-1 | Lusaka | UPS | 2016-12-01 16:38 | 2016-12-01 16:40 | 100% | External - UPS U/S, no effect on service
1601120037-1 | Lusaka | Rf Switch | 2016-12-01 16:41 | 2016-12-01 16:43 | 100% | RF Swicth stuck in one position. Switching needs to be made manually - needs replacement
1605030027-1 | Harare/Lusaka | ATS/DS | 2016-03-05 08:00 | 2016-03-05 09:21 | 100% | No Fault found - restored after investigation
1605050034-1 | Beira/Maputo | ATS/DS | 2016-05-05 15:28 | 2016-05-05 15:59 | 98.5% | External - VCCS in Maputo restored - Antonio
1605070010-1 | Dar Es Salaam/Lusaka | ATS/DS | 2016-07-05 12:47 | 2016-07-05 12:50 | 98.79% | External - VCCS in Dar Es Salaam restored - James
1605090040-1 | Kigali/Jhb | AFTN | 2016-09-05 08:57 | 2016-09-05 10:15 | 100% | External - AFTN is 100% - MET messages were delayed from origen.
1605110049-1 | Dar Es Salaam/Entebbe | ATS/DS | 2016-11-05 23:59 | 2016-12-05 00:08 | 99.85% | IDU reset in Dar Es Salaam
1605120037-1 | Jhb | IDU | 2016-12-05 | 2016-12-05 | 100% | IDU Part replacement on MMS - Sent for repair
1605120038-1 | Jhb | IDU | 2016-12-05 | 2016-12-05 | 100% | IDU Part replacement on MMS - Sent for repair
1605120039-1 | Jhb | IDU | 2016-12-05 | 2016-12-05 | 100% | IDU Part replacement on MMS - Sent for repair
1605230041-1 | Jhb | IDU | 2016-12-05 | 2016-12-05 | 100% | IDU Part replacement on MMS - Sent for repair
1605220018-1 | Jhb/Maputo | AFTN | 22/05/2016 14:57 | 22/05/2016 14:56 | 99.85% | External - AFTN in Maputo problamatic - restored by Antonio
1605300074-1 | Harare/Lusaka | ATS/DS | 30/05/2016 17:33 | 30/05/2016 17:36 | 100% | External - VCCS in Lusaka causing problem, they are installing a new VCCS system
1605310046-1 | Lusaka/Harare | ATS/DS | 31/05/2016 14:57 | 31/05/2016 14:59 | 100% | External - VCCS in Lusaka causing problem, they are installing a new VCCS system
No Info on MMS | Jhb/Plaisance | ATS/DS | 2016-11-05 23:00 | 2016-12-05 05:10 | 99.6% | According to a report from Mauritius a brake in the ATS service was noticed. No reports were found on the MMS system - The VCCS in Jhb has been affected recently by the upgrades taking place at the ORT centre.
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1605050034-1 | Beira/Maputo | ATS/DS | 2016-05-05 15:28 | 2016-05-05 15:59 | 98.5% | External - VCCS in Maputo restored - Antonio
1605070010-1 | Dar Es Salaam/Lusaka | ATS/DS | 2016-07-05 12:47 | 2016-07-05 12:50 | 98.79% | External - VCCS in Dar Es Salaam restored - James
1605110049-1 | Dar Es Salaam/Entebbe | ATS/DS | 2016-11-05 23:59 | 2016-12-05 00:08 | 99.85% | IDU reset in Dar Es Salaam
1605220018-1 | Jhb/Maputo | AFTN | 22/05/2016 14:57 | 22/05/2016 14:56 | 99.85% | External - AFTN in Maputo problamatic - restored by Antonio
No Info on MMS | Jhb/Plaisance | ATS/DS | 2016-11-05 23:00 | 2016-12-05 05:10 | 99.6% | According to a report from Mauritius a brake in the ATS service was noticed. No reports were found on the MMS system - The VCCS in Jhb has been affected recently by the upgrades taking place at the ORT centre.