## Availability (May2017)
Summary of System/Circuit outages (May2017)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1705060021-1 | Beira | System | 06/05/2017 18:03 | 06/05/2017 18:39 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1705080074-1 | Kinshasa | System | 08/05/2017 22:38 | 08/05/2017 22:45 | 99.85% | RF Switch stuck - restored
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1705030022-1 | Lilongwe/Lusaka | ATS/DS | 03/05/2017 13:04 | 03/05/2017 15:00 | 99.82% | Quad FXS card faulty - moved services to other port - replaced card and restored
1705040026-1 | Luanda/Accra | ATS/DS | 04/05/2017 12:31 | 04/05/2017 13:00 | 99.85% | Levels in Accra not stable - they must investigate and restore it
1705040042-1 | Jhb/Windhoek | AFTN | 04/05/2017 17:41 | 04/05/2017 17:45 | 99.9% | External - cabling in Jhb
1705060019-1 | Jhb/Windhoek | ATS/DS | 06/05/2017 14:42 | 06/05/2017 14:45 | 100% | No Fault Found
1705070011-1 | Beira | ATS/DS | 06/05/2017 07:02 | 07/05/2017 12:33 | 98.5% | See previous fault 1705060021-1
1705080042-1 | Lilongwe | RF Switch | 08/05/2017 09:05 | 06/05/2017 | 100% | RF Switch stuck - needs replacement - no effect on service
1705160040-1 | Jhb/Kigali | AFTN | 16/05/2017 14:22 | 16/05/2017 14:30 | 99.85% | External - Indra AFTN system in Kigali
1705110037-1 | Jhb/Kinshasa | AFTN | 11/05/2017 17:02 | 11/05/2017 17:12 | 99.99% | External - Cabling in Jhb
1705170033-1 | Jhb/Maputo | ATS/DS | 17/05/2017 15:01 | 17/05/2017 15:09 | 99.99% | Reset IDU in Maputo
1705170044-1 | Lilongwe/Lusaka | ATS/DS | 17/05/2017 17:01 | 17/05/2017 17:10 | 99.99% | Reset IDU in Lusaka
1705190018-1 | Beira/Dar Es salaam | ATS/DS | 19/05/2017 10:10 | 19/05/2017 10:14 | 99.99% | See previous fault 1705060021-1
1705210010-1 | Beira/Harare | ATS/DS | 21/05/2017 11:13 | 21/05/2017 11:21 | 99.99% | See previous fault 1705060021-1
1705230029-1 | Plaisance/Nairobi | AFTN | 23/05/2017 12:59 | 23/05/2017 13:17 | 99.85% | Reset IDU in Nairobi
1705280012-1 | Antana/Beira | ATS/DS | 28/03/2017 11:01 | 28/05/2017 11:05 | 99.99% | See previous fault 1705060021-1
1705290020-1 | Antana/Dar Es Salaam | ATS/DS | 29/05/2017 07:13 | 29/05/2017 07:13 | 100% | No Fault Found
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1705060021-1 | Beira/Antana | ATS/DS | 06/05/2017 18:03 | 06/05/2017 18:39 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1705060021-1 | Beira/Jhb | ATS/DS | 06/05/2017 18:03 | 06/05/2017 18:39 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1705060021-1 | Beira/Lilongwe | ATS/DS | 06/05/2017 18:03 | 06/05/2017 18:39 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1705060021-1 | Beira/Harare | ATS/DS | 06/05/2017 18:03 | 06/05/2017 18:39 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1705060021-1 | Beira/Lusaka | ATS/DS | 06/05/2017 18:03 | 06/05/2017 18:39 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1705060021-1 | BeiraDar Es Salaam | ATS/DS | 06/05/2017 18:03 | 06/05/2017 18:39 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1705060021-1 | Beira/Maputo | ATS/DS | 06/05/2017 18:03 | 06/05/2017 18:39 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1705060021-1 | Beira/Jhb | AFTN | 06/05/2017 18:03 | 06/05/2017 18:39 | 98.5% | System intermittant but services still operating- Reset IDU - stable now
1705080074-1 | Kinshasa/Brazzaville | ATS/DS | 08/05/2017 22:38 | 08/05/2017 22:45 | 99.85% | RF Switch stuck - restored
1705080074-1 | Kinshasa/Bujumbura | ATS/DS | 08/05/2017 22:38 | 08/05/2017 22:45 | 99.85% | RF Switch stuck - restored
1705080074-1 | Kinshasa/Dar Es Salaam | ATS/DS | 08/05/2017 22:38 | 08/05/2017 22:45 | 99.85% | RF Switch stuck - restored
1705080074-1 | Kinshasa/Entebbe | ATS/DS | 08/05/2017 22:38 | 08/05/2017 22:45 | 99.85% | RF Switch stuck - restored
1705080074-1 | Kinshasa/Kigali | ATS/DS | 08/05/2017 22:38 | 08/05/2017 22:45 | 99.85% | RF Switch stuck - restored
1705080074-1 | Kinshasa/Khartoum | ATS/DS | 08/05/2017 22:38 | 08/05/2017 22:45 | 99.85% | RF Switch stuck - restored
1705080074-1 | Kinshasa/Luanda | ATS/DS | 08/05/2017 22:38 | 08/05/2017 22:45 | 99.85% | RF Switch stuck - restored
1705080074-1 | Kinshasa/Lusaka | ATS/DS | 08/05/2017 22:38 | 08/05/2017 22:45 | 99.85% | RF Switch stuck - restored
1704140018-1 | Kinshasa/Jhb | AFTN | 14/04/2017 18:25 | 14/04/2017 18:30 | 99.85% | see previous fault
1705030022-1 | Lilongwe/Lusaka | ATS/DS | 03/05/2017 13:04 | 03/05/2017 15:00 | 99.82% | Quad FXS card faulty - moved services to other port - replaced card and restored
1705040026-1 | Luanda/Accra | ATS/DS | 04/05/2017 12:31 | 04/05/2017 13:00 | 99.85% | Levels in Accra not stable - they must investigate and restore it
1705040042-1 | Jhb/Windhoek | AFTN | 04/05/2017 17:41 | 04/05/2017 17:45 | 99.9% | External - cabling in Jhb
1705070011-1 | Beira | ATS/DS | 06/05/2017 07:02 | 07/05/2017 12:33 | 98.5% | See previous fault 1705060021-1
1705160040-1 | Jhb/Kigali | AFTN | 16/05/2017 14:22 | 16/05/2017 14:30 | 99.85% | External - Indra AFTN system in Kigali
1705110037-1 | Jhb/Kinshasa | AFTN | 11/05/2017 17:02 | 11/05/2017 17:12 | 99.99% | External - Cabling in Jhb
1705170033-1 | Jhb/Maputo | ATS/DS | 17/05/2017 15:01 | 17/05/2017 15:09 | 99.99% | Reset IDU in Maputo
1705170044-1 | Lilongwe/Lusaka | ATS/DS | 17/05/2017 17:01 | 17/05/2017 17:10 | 99.99% | Reset IDU in Lusaka