## Availability (May2018)
Summary of System/Circuit outages (May2018)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1805040064-1 | Lusaka | System | 04/05/2018 11:52 | 04/05/2018 12:35 | 99.85% | Preventative maintenance
1805120017-2 | Gaborone | System | 12/05/2018 15:30 | 12/05/2018 15:30 | 99.85% | Preventative maintenance
1805180039-1 | Lilongwe | System | 18/05/2018 16:39 | 18/05/2018 16:53 | 99.85% | External - Mains power tripped - local electricians restored
1805010035-1 | Kigali | System | 01/05/2018 17:28 | 01/05/2018 21:05 | 99.53% | RF Switch stuck - System restored to one chain
1805140041-1 | Luanda | System | 14/05/2018 16:55 | 14/05/2018 17:00 | 99.85% | Preventative maintenance
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1802180010-1 | Luanda/Brazzaville | ATS/DS | 18/02/2018 09:14 | 18/02/2018 11:22 | 0% | Brazzaville affected by lightning strike
1805300005-1 | Maputo/Jhb | ATS/DS | 30/05/2018 05:14 | 30/05/2018 05:15 | 100% | No Fault Found upon investigation
1805040057-1 | Harare/Lusaka | ATS/DS | 04/05/2018 10:40 | 04/05/2018 10:48 | 99.85% | Reset both IDU's
1805090031-1 | Kinshasa | RFT | 09/05/2018 14:00 | 31/05/2018 | 100% | RFT U/S - nneds to be replaced trip is being organised. No effect on service
1805110021-1 | Gaborone/Jhb | ATS/DS | 11/05/2018 09:58 | 31/05/2018 | 98.5% | External - intermittant- PCUG at ORT intermittant - VSAT 100%
1805110038-1 | Kigali/Jhb | AFTN | 11/05/2018 15:59 | 11/05/2018 16:21 | 99.53% | External - AFTN in Kigali - port reset by local Tech - Richard
1805120012-1 | Kigali/Jhb | AFTN | 11/05/2018 09:59 | 12/05/2018 10:41 | 96.69% | External - NAMIP in ORT faulty - 4 circuits affected - restored
1805120017-1 | Gaborone | RFT | 12/05/2018 15:30 | 12/05/2018 17:01 | 99.8% | RFT and water in feedhorn - retored
1805180007-1 | Lusaka/Jhb | AFTN | 18/05/2018 05:09 | 18/05/2018 05:15 | 99.99% | External - AFTN in Lusaka - configure new port on FAD
1805200013-1 | Jhb/Windhoek | ATS/DS | 20/05/2018 14:30 | 20/05/2018 15:56 | 98.5% | External - intermittant- PCUG at ORT intermittant - VSAT 100%
1805200013-2 | Jhb/Windhoek | ATS/DS | 20/05/2018 | 20/05/2018 | 98.5% | External - intermittant- PCUG at ORT intermittant - VSAT 100% fault duplicated see previous fault
1805240023-1 | Dar Es Salaam/Lusaka | ATS/DS | 24/05/2018 14:43 | 24/05/2018 14:45 | 99.95% | External - VCCS Dar Es Salaam - restored
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1802180010-1 | Luanda/Brazzaville | ATS/DS | 18/02/2018 09:14 | 18/02/2018 11:22 | 0% | Brazzaville affected by lightning strike
1802180010-1 | Kinshasa/Brazzaville | ATS/DS | 18/02/2018 09:14 | 18/02/2018 11:22 | 0% | Brazzaville affected by lightning strike
1805040064-1 | Lusaka/Beira | ATS/DS | 04/05/2018 11:52 | 04/05/2018 12:35 | 99.85% | Preventative maintenance
1805040064-1 | Lusaka/Dar Es Salaam | ATS/DS | 04/05/2018 11:52 | 04/05/2018 12:35 | 99.85% | Preventative maintenance
1805040064-1 | Lusaka/Harare | ATS/DS | 04/05/2018 11:52 | 04/05/2018 12:35 | 99.85% | Preventative maintenance
1805040064-1 | Lusaka/Lilongwe | ATS/DS | 04/05/2018 11:52 | 04/05/2018 12:35 | 99.85% | Preventative maintenance
1805040064-1 | Lusaka/Gaborone | ATS/DS | 04/05/2018 11:52 | 04/05/2018 12:35 | 99.85% | Preventative maintenance
1805040064-1 | Lusaka/Luanda | ATS/DS | 04/05/2018 11:52 | 04/05/2018 12:35 | 99.85% | Preventative maintenance
1805040064-1 | Lusaka/Kinshasa | ATS/DS | 04/05/2018 11:52 | 04/05/2018 12:35 | 99.85% | Preventative maintenance
1805040064-1 | Lusaka/Windhoek | ATS/DS | 04/05/2018 11:52 | 04/05/2018 12:35 | 99.85% | Preventative maintenance
1805040064-1 | Lusaka/Jhb | AFTN | 04/05/2018 11:52 | 04/05/2018 12:35 | 99.85% | Preventative maintenance
1805120017-2 | Gaborone/Harare | ATS/DS | 12/05/2018 15:30 | 12/05/2018 15:30 | 99.85% | Preventative maintenance
1805120017-2 | Gaborone/Jhb | ATS/DS | 12/05/2018 15:30 | 12/05/2018 15:30 | 99.85% | Preventative maintenance
1805120017-2 | Gaborone/Lusaka | ATS/DS | 12/05/2018 15:30 | 12/05/2018 15:30 | 99.85% | Preventative maintenance
1805120017-2 | Gaborone/Luanda | ATS/DS | 12/05/2018 15:30 | 12/05/2018 15:30 | 99.85% | Preventative maintenance
1805120017-2 | Gaborone/Windhoek | ATS/DS | 12/05/2018 15:30 | 12/05/2018 15:30 | 99.85% | Preventative maintenance
1805120017-2 | Gaborone/Jhb | AFTN | 12/05/2018 15:30 | 12/05/2018 15:30 | 99.85% | Preventative maintenance
1805120017-2 | Gaborone/Jhb | AMHS | 12/05/2018 15:30 | 12/05/2018 15:30 | 99.85% | Preventative maintenance
1805180039-1 | Lilongwe/Beira | ATS/DS | 18/05/2018 16:39 | 18/05/2018 16:53 | 99.85% | Preventative maintenance
1805180039-1 | Lilongwe/Dar Es Salaam | ATS/DS | 18/05/2018 16:39 | 18/05/2018 16:53 | 99.85% | Preventative maintenance
1805180039-1 | Lilongwe/Lusaka | ATS/DS | 18/05/2018 16:39 | 18/05/2018 16:53 | 99.85% | Preventative maintenance
1805180039-1 | Lilongwe/Harare | ATS/DS | 18/05/2018 16:39 | 18/05/2018 16:53 | 99.85% | Preventative maintenance
1805180039-1 | Lilongwe/Jhb | AFTN | 18/05/2018 16:39 | 18/05/2018 16:53 | 99.85% | Preventative maintenance
1805010035-1 | Kigali/Bujumbura | ATS/DS | 01/05/2018 17:28 | 01/05/2018 21:05 | 99.53% | RF Switch stuck - System restored to one chain
1805010035-1 | Kigali/Dar Es Salaam | ATS/DS | 01/05/2018 17:28 | 01/05/2018 21:05 | 99.53% | RF Switch stuck - System restored to one chain
1805010035-1 | Kigali/Entebbe | ATS/DS | 01/05/2018 17:28 | 01/05/2018 21:05 | 99.53% | RF Switch stuck - System restored to one chain
1805010035-1 | Kigali/Kinshasa | ATS/DS | 01/05/2018 17:28 | 01/05/2018 21:05 | 99.53% | RF Switch stuck - System restored to one chain
1805010035-1 | Kigali/Jhb | AFTN | 01/05/2018 17:28 | 01/05/2018 21:05 | 99.53% | RF Switch stuck - System restored to one chain
1805140041-1 | Luanda/Kinshasa | ATS/DS | 14/05/2018 16:55 | 14/05/2018 17:00 | 99.85% | Preventative maintenance
1805140041-1 | Luanda/Jhb | ATS/DS | 14/05/2018 16:55 | 14/05/2018 17:00 | 99.85% | Preventative maintenance
1805140041-1 | Luanda/Lusaka | ATS/DS | 14/05/2018 16:55 | 14/05/2018 17:00 | 99.85% | Preventative maintenance
1805140041-1 | Luanda/Gaborone | ATS/DS | 14/05/2018 16:55 | 14/05/2018 17:00 | 99.85% | Preventative maintenance
1805140041-1 | Luanda/Windhoek | ATS/DS | 14/05/2018 16:55 | 14/05/2018 17:00 | 99.85% | Preventative maintenance
1805140041-1 | Luanda/Jhb | AFTN | 14/05/2018 16:55 | 14/05/2018 17:00 | 99.85% | Preventative maintenance
1802180010-1 | Luanda/Brazzaville | ATS/DS | 18/02/2018 09:14 | 18/02/2018 11:22 | 0% | Brazzaville affected by lightning strike
1805040057-1 | Harare/Lusaka | ATS/DS | 04/05/2018 10:40 | 04/05/2018 10:48 | 99.85% | Reset both IDU's
1805110021-1 | Gaborone/Jhb | ATS/DS | 11/05/2018 09:58 | 31/05/2018 | 98.5% | External - intermittant- PCUG at ORT intermittant - VSAT 100%
1805110038-1 | Kigali/Jhb | AFTN | 11/05/2018 15:59 | 11/05/2018 16:21 | 99.53% | External - AFTN in Kigali - port reset by local Tech - Richard
1805120012-1 | Kigali/Jhb | AFTN | 11/05/2018 09:59 | 12/05/2018 10:41 | 96.69% | External - NAMIP in ORT faulty - 4 circuits affected - restored
1805120017-1 | Gaborone | RFT | 12/05/2018 15:30 | 12/05/2018 17:01 | 99.8% | RFT and water in feedhorn - retored
1805180007-1 | Lusaka/Jhb | AFTN | 18/05/2018 05:09 | 18/05/2018 05:15 | 99.99% | External - AFTN in Lusaka - configure new port on FAD
1805200013-1 | Jhb/Windhoek | ATS/DS | 20/05/2018 14:30 | 20/05/2018 15:56 | 98.5% | External - intermittant- PCUG at ORT intermittant - VSAT 100%
1805200013-2 | Jhb/Windhoek | ATS/DS | 20/05/2018 | 20/05/2018 | 98.5% | External - intermittant- PCUG at ORT intermittant - VSAT 100% fault duplicated see previous fault
1805240023-1 | Dar Es Salaam/Lusaka | ATS/DS | 24/05/2018 14:43 | 24/05/2018 14:45 | 99.95% | External - VCCS Dar Es Salaam - restored