## Availability (Nov2018)
Summary of System/Circuit outages (Nov2018)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1811120061-1 | Tripoli | system | 12/11/2018 15:28 | 12/11/2018 15:40 | 99.97% | External - Power failure beyond UPS capacity
1811210030-1 | NAFISAT | system | 20/11/2018 10:05 | 21/11/2018 01:00 | 99.72% | Configuration load for optimazation
1811260038-1 | Victoria | system | 25/11/2018 09:23 | 25/11/2018 11:30 | 99.85% | Preventative Maintenance
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1811080031-1 | Khartoum/N'Djamena | AFTN | 08/11/2018 14:29 | 08/11/2018 14:37 | 99.98% | External - AMHS in Khartoum restored
1811100004-1 | Djibouti/Nairobi | AFTN | 10/11/2018 06:05 | 10/11/2018 06:20 | 99.97% | External - AFTN in Djibouti was switched off - restored
1811170001-1 | Dar Es Salaam/Nairobi | AFTN | 17/11/2018 00:11 | 17/11/2018 00:24 | 100% | No Fault found upon investigation
1811170015-1 | Victoria | FXS | 17/11/2018 12:22 | 17/11/2018 15:22 | 99.58% | Moved services to dual FXS card - fault closed on 24/11/2018 after monitoring
1811180009-1 | Victoria/Mogadishu | ATS/DS | 18/11/2018 09:10 | 18/11/2018 09:35 | 100% | No Fault found upon investigation
1811230035-1 | Victoria/ Plaisance/Mogadishu | ATS/DS | 23/11/2018 16:26 | 24/11/2018 17:26 | 98.5% | Replaced FAD and FXS cards in Victoria
1811230034-1 | Nairobi/Victoria | AFTN | 23/11/2018 16:22 | 24/11/2018 17:26 | 98.5% | see previous fault - FAD replaced in Victoria
1811260064-1 | Entebbe/Kinshasa | ATS/DS | 26/11/2018 22:33 | 26/11/2018 22:33 | 100% | No Fault found upon investigation
1811270031-1 | Jhb/Victoria | AFTN | 27/11/2018 10:13 | 27/11/2018 10:22 | 100% | External - fault incorrectly logged - Routing in Nairobi restored - VSAT 100%
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1811120061-1 | Tripoli/Cairo | ATS/DS | 12/11/2018 15:28 | 12/11/2018 15:40 | 99.97% | External - Power failure beyond UPS capacity
1811120061-1 | Tripoli/Khartoum | ATS/DS | 12/11/2018 15:28 | 12/11/2018 15:40 | 99.97% | External - Power failure beyond UPS capacity
1811120061-1 | Tripoli/N'Djamena | ATS/DS | 12/11/2018 15:28 | 12/11/2018 15:40 | 99.97% | External - Power failure beyond UPS capacity
1811120061-1 | Tripoli/Niamey | ATS/DS | 12/11/2018 15:28 | 12/11/2018 15:40 | 99.97% | External - Power failure beyond UPS capacity
1811120061-1 | Tripoli/Cairo | AFTN | 12/11/2018 15:28 | 12/11/2018 15:40 | 99.97% | External - Power failure beyond UPS capacity
1811120061-1 | Tripoli/Khartoum | AFTN | 12/11/2018 15:28 | 12/11/2018 15:40 | 99.97% | External - Power failure beyond UPS capacity
1811120061-1 | Tripoli/N'Djamena | AFTN | 12/11/2018 15:28 | 12/11/2018 15:40 | 99.97% | External - Power failure beyond UPS capacity
1811120061-1 | Tripoli/Niamey | AFTN | 12/11/2018 15:28 | 12/11/2018 15:40 | 99.97% | External - Power failure beyond UPS capacity
1811260038-1 | Victoria/Antana | ATS/DS | 25/11/2018 09:23 | 25/11/2018 11:30 | 99.85% | Preventative Maintenance
1811260038-1 | Victoria/Dar Es Salaam | ATS/DS | 25/11/2018 09:23 | 25/11/2018 11:30 | 99.85% | Preventative Maintenance
1811260038-1 | Victoria/Nairobi | ATS/DS | 25/11/2018 09:23 | 25/11/2018 11:30 | 99.85% | Preventative Maintenance
1811260038-1 | Victoria/Mogadishu | ATS/DS | 25/11/2018 09:23 | 25/11/2018 11:30 | 99.85% | Preventative Maintenance
1811260038-1 | Victoria/Plaisance | ATS/DS | 25/11/2018 09:23 | 25/11/2018 11:30 | 99.85% | Preventative Maintenance
1811260038-1 | Victoria/Nairobi | AFTN | 25/11/2018 09:23 | 25/11/2018 11:30 | 99.85% | Preventative Maintenance
1811260038-1 | Victoria/Jhb | AFTN | 25/11/2018 09:23 | 25/11/2018 11:30 | 99.85% | Preventative Maintenance
1811080031-1 | Khartoum/N'Djamena | AFTN | 08/11/2018 14:29 | 08/11/2018 14:37 | 99.98% | External - AMHS in Khartoum restored
1811100004-1 | Djibouti/Nairobi | AFTN | 10/11/2018 06:05 | 10/11/2018 06:20 | 99.97% | External - AFTN in Djibouti was switched off - restored
1811170015-1 | Victoria | FXS | 17/11/2018 12:22 | 17/11/2018 15:22 | 99.58% | Moved services to dual FXS card - fault closed on 24/11/2018 after monitoring
1811230035-1 | Victoria/ Plaisance/Mogadishu | ATS/DS | 23/11/2018 16:26 | 24/11/2018 17:26 | 98.5% | Replaced FAD and FXS cards in Victoria
1811230034-1 | Nairobi/Victoria | AFTN | 23/11/2018 16:22 | 24/11/2018 17:26 | 98.5% | see previous fault - FAD replaced in Victoria
1811210030-1 | NAFISAT | ATS/DS/AFTN | 20/11/2018 10:05 | 21/11/2018 01:00 | 99.72% | Configuration load for optimazation