## Availability (Nov2017)
Summary of System/Circuit outages (Nov2017)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1710040011-1 | Kinshasa | RF Switch | 25/08/2017 11:42 | 25/08/2017 11:44 | 100% | RF Switch stuck - no effect on service - needs replacement
1711210042-1 | Jhb/Manzini | ATS/DS | 21/11/2017 15:24 | 21/11/2017 15:31 | 99.85% | External - PABX configuration in Matsapha restored
1711120012-1 | Dar Es Salaam/Jhb | AFTN | 12/11/2017 12:43 | 12/11/2017 12:45 | 99.52% | External - AFTN in Dar off - restored - Edna
1711120055-1 | Luanda/Accra | ATS/DS | 13/11/2017 12:20 | 13/11/2017 12:20 | 98.5% | External - the VSAT system was checked and found to be 100% - Levels in Accra are low - suspect reception levels - cannot increace transmit power levels in Luanda as it affects the other sites
1711210036-1 | Jhb/Plaisance | ATS/DS | 21/11/2017 12:59 | 23/11/2017 13:26 | 90% | External - Hot line fuction from Plaisance was not operating - only dial tone when they try to reach Ocianic - Restored configuration on PABX in Jhb
1711250009-1 | Jhb/Lilongwe | AFTN | 25/11/2017 08:23 | 25/11/2017 09:23 | 99.85% | External - Messages queing up on IAT PC in Lilongwe - deletd Que and restored
1711280020-1 | Jhb/Maputo | ATS/DS | 28/11/2017 08:51 | 28/11/2017 09:40 | 99.93% | Reset IDU in Maputo
1711290003-1 | Jhb/Lilongwe | AFTN | 29/11/2017 02:38 | 29/11/2017 02:51 | 99.85% | External - IAT PC in Lilongwe time setting restored
1711290017-1 | Jhb/Maputo | AFTN | 29/11/2017 08:50 | 29/11/2017 09:12 | 99.85% | External - AFTN in Maputo was in overflow for Jhb line
1711300014-1 | Mseru | IDU 5000 | 30/11/2017 10:47 | 30/11/2017 | 100% | IDU 5000 - no effect on new network
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1711210042-1 | Jhb/Manzini | ATS/DS | 21/11/2017 15:24 | 21/11/2017 15:31 | 99.85% | External - PABX configuration in Matsapha restored
1711120012-1 | Dar Es Salaam/Jhb | AFTN | 12/11/2017 12:43 | 12/11/2017 12:45 | 99.52% | External - AFTN in Dar off - restored - Edna
1711120055-1 | Luanda/Accra | ATS/DS | 13/11/2017 12:20 | 13/11/2017 12:20 | 98.5% | External - the VSAT system was checked and found to be 100% - Levels in Accra are low - suspect reception levels - cannot increace transmit power levels in Luanda as it affects the other sites
1711210036-1 | Jhb/Plaisance | ATS/DS | 21/11/2017 12:59 | 23/11/2017 13:26 | 90% | External - Hot line fuction from Plaisance was not operating - only dial tone when they try to reach Ocianic - Restored configuration on PABX in Jhb
1711250009-1 | Jhb/Lilongwe | AFTN | 25/11/2017 08:23 | 25/11/2017 09:23 | 99.85% | External - Messages queing up on IAT PC in Lilongwe - deletd Que and restored
1711280020-1 | Jhb/Maputo | ATS/DS | 28/11/2017 08:51 | 28/11/2017 09:40 | 99.93% | Reset IDU in Maputo
1711290003-1 | Jhb/Lilongwe | AFTN | 29/11/2017 02:38 | 29/11/2017 02:51 | 99.85% | External - IAT PC in Lilongwe time setting restored
1711290017-1 | Jhb/Maputo | AFTN | 29/11/2017 08:50 | 29/11/2017 09:12 | 99.85% | External - AFTN in Maputo was in overflow for Jhb line