## Availability (Oct2018)
Summary of System/Circuit outages (Oct2018)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1810170007-1 | Beira/Dar Es Salaam | System | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1810040046-1 | Luanda/Windhoek | ATS/DS | 04/10/2018 19:46 | 04/10/2018 20:17 | 100% | No Fault Found upon investigation
1810070002-1 | Beira/Dar Es Salaam | ATS/DS | 07/10/2018 05:46 | 07/10/2018 06:00 | 100% | No Fault Found upon investigation
1810130027-1 | Jhb/Kigali | AFTN | 13/10/2018 19:49 | 13/10/2018 20:07 | 99.97% | External - Reset Kigali AFTN
1810170031-1 | Antana/Dar Es Salaam | ATS/DS | 17/10/2018 14:15 | 17/10/2018 14:15 | 99.85% | See previous fault 1810170007-1
1810170032-1 | Jhb/Dar Es Salaam | AFTN | 17/10/2018 14:18 | 17/10/2018 14:18 | 99.85% | See previous fault 1810170007-1
1810190011-1 | Beira/Dar Es Salaam | ATS/DS | 19/10/2018 07:33 | 19/10/2018 08:33 | 99.93% | External - VCCS in Dar EsSalaam - VSAt 100%
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1810170007-1 | Dar Es Salaam/Antanna | ATS/DS | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1810170007-1 | Dar Es Salaam/Beira | ATS/DS | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1810170007-1 | Dar Es Salaam/Bujumbura | ATS/DS | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1810170007-1 | Dar Es Salaam/Kinshasa | ATS/DS | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1810170007-1 | Dar Es Salaam/Kigali | ATS/DS | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1810170007-1 | Dar Es Salaam/Entebbe | ATS/DS | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1810170007-1 | Dar Es Salaam/Lilongwe | ATS/DS | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1810170007-1 | Dar Es Salaam/Lusaka | ATS/DS | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1810170007-1 | Dar Es Salaam/Nairobi | ATS/DS | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1810170007-1 | Dar Es Salaam/Victoria | ATS/DS | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1810170007-1 | Dar Es Salaam/Nairobi | ATS/DS | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1810170007-1 | Dar Es Salaam/Jhb | AFTN | 17/10/2018 05:14 | 17/10/2018 06:15 | 99.85% | IDU Reset in Dar Es Salaam - had "wait" alarm
1809220015-1 | Harare/Gaborone | AFTN | 22/09/2018 15:12 | 22/09/2018 15:38 | 99.94% | RF Switch stuck - restored
1810130027-1 | Jhb/Kigali | AFTN | 13/10/2018 19:49 | 13/10/2018 20:07 | 99.97% | External - Reset Kigali AFTN
1810170031-1 | Antana/Dar Es Salaam | ATS/DS | 17/10/2018 14:15 | 17/10/2018 14:15 | 99.85% | See previous fault 1810170007-1
1810170032-1 | Jhb/Dar Es Salaam | AFTN | 17/10/2018 14:18 | 17/10/2018 14:18 | 99.85% | See previous fault 1810170007-1
1810190011-1 | Beira/Dar Es Salaam | ATS/DS | 19/10/2018 07:33 | 19/10/2018 08:33 | 99.93% | External - VCCS in Dar Es Salaam - VSAt 100%