## Availability (Sept2015)
Summary of System/Circuit outages (Sept 2015)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1509030019-1 | Djibouti | system | 09/09/2015 13:00 | 10/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa | system | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1209070033-1 | Jhb | NMS | 2012-07-09 | 31/01/2013 | 100% | NMS Statistical software- No affect on service
1401200034-1 | Sana'a | NMS | 20/01/2014 11:23 | 20/01/2014 | 100% | NMS PC- No affect on service - ready for replacement - awaiting safety confirmation to send staff member
1412220024-1 | Tripoli | RFT | 22/12/2014 09:43 | 31/12/2014 | 100% | RFT 1 faulty - no effect on service - needs replacement
1506110040-1 | Entebbe MMC | UPS | 11/06/2015 15:04 | 30/06/2015 | 100% | External - UPS failed - needs replacement
1506050043-1 | Entebbe | UPS | 05/06/2015 | 30/06/2015 | 100% | External - UPS failed - needs replacement
1509030018-1 | Addis/Khartoum | AFTN | 03/09/2015 11:11 | 03/09/2015 11:14 | 100% | External - AMHS in ADDIS problamatic - Service 99.85%
1509050002-1 | Jeddah/Sana'a | AFTN | 05/09/2015 05:15 | 05/09/2015 07:30 | 100% | No fault found after investigation
1509140013-1 | Jeddah/Sana'a | AFTN | 14/09/2015 07:32 | 14/09/2015 07:57 | 100% | No fault found after investigation
1509100001-1 | Jeddah/Sana'a | AFTN | 10/09/2015 01:54 | 10/09/2015 07:30 | 100% | No fault found after investigation
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1509030019-1 | Djibouti/Asmara | ATS/DS | 09/09/2015 13:00 | 10/09/2015 08:00 | 99.85% | Preventative maintenance
1509030019-1 | Djibouti/Addis | ATS/DS | 09/09/2015 13:00 | 10/09/2015 08:00 | 99.85% | Preventative maintenance
1509030019-1 | Djibouti/Mogadishu | ATS/DS | 09/09/2015 13:00 | 10/09/2015 08:00 | 99.85% | Preventative maintenance
1509030019-1 | Djibouti/Sana'a | ATS/DS | 09/09/2015 13:00 | 10/09/2015 08:00 | 99.85% | Preventative maintenance
1509030019-1 | Djibouti/Addis | AFTN | 09/09/2015 13:00 | 10/09/2015 08:00 | 99.85% | Preventative maintenance
1509030019-1 | Djibouti/Nairobi | AFTN | 09/09/2015 13:00 | 10/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Asmara | ATS/DS | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Djibouti | ATS/DS | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Khartoum | ATS/DS | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Mogadishu | ATS/DS | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Nairobi | ATS/DS | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Sana'a | ATS/DS | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Asmara | AFTN | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Djibouti | AFTN | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Khartoum | AFTN | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Mogadishu | AFTN | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Nairobi | AFTN | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Niamey | AFTN | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance
1509030020-1 | Addis Ababa/Sana'a | AFTN | 07/09/2015 10:00 | 08/09/2015 08:00 | 99.85% | Preventative maintenance