## Availability (Sept2017)
Summary of System/Circuit outages (Sept2017)
VSAT II NAFISAT SYSTEM (level 1)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
VSAT II NAFISAT Network (level 2 and 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1709070096-1 | Addis/Nairobi | ATS/DS | 07/09/2017 18:41 | 07/09/2017 19:00 | 99.85% | Reset FAD in Addis
1709110049-1 | Dar Es Salaam/Nairobi | ATS/DS | 11/09/2017 12:49 | 11/09/2017 14:13 | 99.85% | External - line in Dar Es Salaam on divert
1709050100-1 | Djibouti/Nairobi | AFTN | 03/09/2017 17:00 | 04/09/2017 10:37 | 98.5% | External - connector in Djibouti wrongly wired
1709080025-1 | Entebbe | RF Switch | 08/09/2017 11:31 | 08/09/217 11:33 | 100% | Rf Switch stuck - no effect on service - needs replacement
1709100017-1 | Entebbe/Jhb | AFTN | 10/09/2017 17:39 | 10/09/2017 17:50 | 99.85% | External - AFTN in Entebbe -restored
1709250043-1 | Victoria/Mumbai | ATS/DS | 25/09/2017 18:49 | 25/09/2017 18:52 | 100% | faulty wrongly reported - there is no such service on the NAFISAT network
VSATII NAFISAT circuits (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1709070096-1 | Addis/Nairobi | ATS/DS | 07/09/2017 18:41 | 07/09/2017 19:00 | 99.85% | Reset FAD in Addis
1709110049-1 | Dar Es Salaam/Nairobi | ATS/DS | 11/09/2017 12:49 | 11/09/2017 14:13 | 99.85% | External - line in Dar Es Salaam on divert
1709050100-1 | Djibouti/Nairobi | AFTN | 03/09/2017 17:00 | 04/09/2017 10:37 | 98.5% | External - connector in Djibouti wrongly wired
1709100017-1 | Entebbe/Jhb | AFTN | 10/09/2017 17:39 | 10/09/2017 17:50 | 99.85% | External - AFTN in Entebbe -restored