## Availability (Sept2017)
Summary of System/Circuit outages (Sept2017)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Network | Service | StartDown | EndDown | Achieved System Availability | Comments
1709170021-1 | Bujumbura | System | 17/09/2017 22:51 | 18/09/2017 04:17 | 99.24% | RF Switch got stuck. Manually switched
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1708250024-1 | Kinshasa | RF Switch | 25/08/2017 11:42 | 25/08/2017 11:44 | 100% | RF Switch stuck - no effect on service - needs replacement
1709120021-1 | Jhb/Manzini | AFTN | 12/09/2017 08:00 | 12/09/2017 08:30 | 99.85% | External - AMSS in Manzini problamatic - restored by local staff
1709120028-1 | Jhb/Luanda | ATS/DS | 12/09/2017 15:24 | 12/09/2017 16:00 | 99.85% | External - VCCS in Luanda - restored
1709140034-1 | Jhb/Dar Es Salaam | AFTN | 14/09/2017 20:40 | 14/09/2017 21:00 | 99.85% | External - AFTN in Dar Es Salaam frooze - restored
1709140035-1 | Jhb/Maputo | AFTN | 14/09/2017 20:43 | 14/09/2017 21:30 | 100% | No Fault Found upon investigation
1709180035-1 | Kinshasa/Luanda | ATS/DS | 18/09/2017 12:25 | 18/09/2017 12:27 | 100% | No Fault Found upon investigation
1709180040-1 | Luanda/Windhoek | ATS/DS | 18/09/2017 15:33 | 18/09/2017 15:35 | 99.85% | Kinshasa was not reachable but restored itself upon invetigation
1709230006-1 | Kinshasa/Jhb | AFTN | 23/09/2017 10:02 | 23/09/2017 10:30 | 100% | No Fault Found upon investigation
1709240013-1 | Bujumbura | ATS/DS | 24/09/2017 10:50 | 24/09/2017 11:20 | 99.85% | Quad card failed - used other ports on dual card
1709260039-1 | Jhb/Luanda | ATS/DS | 26/09/2017 12:42 | 26/09/2017 12:45 | 99.85% | External - VCCS in Luanda - restored
1709300008-1 | Jhb/Maseru | ATS/DS | 30/09/2017 10:38 | 30/09/2017 10:45 | 100% | No Fault Found upon investigation
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1709170021-1 | Bujumbura/Dar Es Salaam | ATS/DS | 17/09/2017 22:51 | 18/09/2017 04:17 | 99.24% | RF Switch got stuck. Manually switched
1709170021-1 | Bujumbura/Kigali | ATS/DS | 17/09/2017 22:51 | 18/09/2017 04:17 | 99.24% | RF Switch got stuck. Manually switched
1709170021-1 | Bujumbura/Kinshasa | ATS/DS | 17/09/2017 22:51 | 18/09/2017 04:17 | 99.24% | RF Switch got stuck. Manually switched
1709170021-1 | Bujumbura/Jhb | AFTN | 17/09/2017 22:51 | 18/09/2017 04:17 | 99.24% | RF Switch got stuck. Manually switched
1709120021-1 | Jhb/Manzini | AFTN | 12/09/2017 08:00 | 12/09/2017 08:30 | 99.85% | External - AMSS in Manzini problamatic - restored by local staff
1709120028-1 | Jhb/Luanda | ATS/DS | 12/09/2017 15:24 | 12/09/2017 16:00 | 99.85% | External - VCCS in Luanda - restored
1709140034-1 | Jhb/Dar Es Salaam | AFTN | 14/09/2017 20:40 | 14/09/2017 21:00 | 99.85% | External - AFTN in Dar Es Salaam frooze - restored
1709180040-1 | Luanda/Windhoek | ATS/DS | 18/09/2017 15:33 | 18/09/2017 15:35 | 99.85% | Kinshasa was not reachable but restored itself upon invetigation
1709240013-1 | Bujumbura | ATS/DS | 24/09/2017 10:50 | 24/09/2017 11:20 | 99.85% | Quad card failed - used other ports on dual card
1709260039-1 | Jhb/Luanda | ATS/DS | 26/09/2017 12:42 | 26/09/2017 12:45 | 99.85% | External - VCCS in Luanda - restored