## Availability (Sept2018)
Summary of System/Circuit outages (Sept2018)
VSAT2 SADC SYSTEM (level 1 & 2)
MMS U NUMBER | Station | Network | StartDown | EndDown | Achieved System Availability | Comments
1809190035-1 | Antananarivo | System | 03/09/2018 10:00 | 03/09/2018 10:30 | 99.93% | Preventative maintenance
1809190037-1 | Plaisance | System | 05/09/2018 10:00 | 05/09/2018 10:30 | 99.93% | Preventative maintenance
1809220015-1 | Harare | System | 22/09/2018 15:12 | 22/09/2018 15:38 | 99.94% | RF Switch stuck - restored
1809130036-1 | JHB | System | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809180056-1 | SADC/NAFISAT | Network | 18/09/2018 21:14 | 18/09/2018 21:20 | 100% | License keys updates on all FAD's - No effect on services
VSAT2 SADC Network (level 3)
MMS U NUMBER | Circuit | Circuit Type | StartDown | EndDown | Achieved Circuit Availability | Comments
1809010015-1 | Kigali/Jhb | AFTN | 01/09/2018 20:04 | 01/09/2018 20:15 | 99.97% | External - end user equipment in Jhb, AMSS system restored at FAOR
1809050038-1 | Jhb/Lilongwe | AFTN | 05/09/2018 17:09 | 06/09/2018 11:03 | 97.5% | External - splitter in equipment room for AFTN PC bypassed - services restored
1809110031-1 | Jhb/Windhoek | ATS/DS | 11/09/2018 14:22 | 11/09/2018 14:32 | 100% | No Fault Found upon investigation
1809170061-1 | Jhb/Luanda | AFTN | 17/09/2018 14:12 | 17/09/2018 14:30 | 99.97% | External - end user equipment in Jhb - AMSS NAMIP restored
1809180015-1 | Jhb/Windhoek | ATS/DS | 18/09/2018 09:04 | 18/09/2018 09:06 | 99.99% | External end user equipment - PCUG in Jhb restored
1809200020-1 | Gaborone/Jhb | ATS/DS | 20/09/2018 09:59 | 20/09/2018 14:39 | 99.36% | External - End user equipment in Jhb - PCUG in Jhb restored
1809210013-1 | Antana/Beira | ATS/DS | 21/09/2018 08:28 | 21/09/2018 08:36 | 100% | No Fault Found upon investigation
1809250052-1 | Luanda/Windhoek | ATS/DS | 25/09/2018 16:43 | 25/09/2018 17:13 | 99.93% | No Fault Found upon investigation
1809260009-1 | Jhb/Windhoek | ATS/DS | 26/09/2018 06:12 | 26/09/2018 06:36 | 99.95% | External - replaced cable in Windhoek.
1809140030-1 | Antana/Beira | ATS/DS | 14/09/2018 15:09 | 14/09/2018 15:17 | 99.99% | No Fault Found upon investigation
SADC VSAT II SERVICE (level 4)
MMS U NUMBER | Circuit | Service | StartDown | EndDown | Achieved Circuit Availability | Comments
1809190035-1 | Antananarivo/Beira | ATS/DS | 03/09/2018 10:00 | 03/09/2018 10:30 | 99.93% | Preventative maintenance
1809190035-1 | Antananarivo/Dar Es Salaam | ATS/DS | 03/09/2018 10:00 | 03/09/2018 10:30 | 99.93% | Preventative maintenance
1809190035-1 | Antananarivo/Jhb | ATS/DS | 03/09/2018 10:00 | 03/09/2018 10:30 | 99.93% | Preventative maintenance
1809190035-1 | Antananarivo/Plaisance | ATS/DS | 03/09/2018 10:00 | 03/09/2018 10:30 | 99.93% | Preventative maintenance
1809190035-1 | Antananarivo/Victoria | ATS/DS | 03/09/2018 10:00 | 03/09/2018 10:30 | 99.93% | Preventative maintenance
1809190035-1 | Antananarivo/Jhb | AFTN | 03/09/2018 10:00 | 03/09/2018 10:30 | 99.93% | Preventative maintenance
1809190037-1 | Plaisance/Antana | ATS/DS | 05/09/2018 10:00 | 05/09/2018 10:30 | 99.93% | Preventative maintenance
1809190037-1 | Plaisance/Jhb | ATS/DS | 05/09/2018 10:00 | 05/09/2018 10:30 | 99.93% | Preventative maintenance
1809190037-1 | Plaisance/Victoria | ATS/DS | 05/09/2018 10:00 | 05/09/2018 10:30 | 99.93% | Preventative maintenance
1809190037-1 | Plaisance/Jhb | ATS/DS | 05/09/2018 10:00 | 05/09/2018 10:30 | 99.93% | Preventative maintenance
1809190037-1 | Plaisance/Nairobi | AFTN | 05/09/2018 10:00 | 05/09/2018 10:30 | 99.93% | Preventative maintenance
1809220015-1 | Harare/Beira | ATS/DS | 22/09/2018 15:12 | 22/09/2018 15:38 | 99.94% | RF Switch stuck - restored
1809220015-1 | Harare/Gaborone | ATS/DS | 22/09/2018 15:12 | 22/09/2018 15:38 | 99.94% | RF Switch stuck - restored
1809220015-1 | Harare/Jhb | ATS/DS | 22/09/2018 15:12 | 22/09/2018 15:38 | 99.94% | RF Switch stuck - restored
1809220015-1 | Harare/Lilongwe | ATS/DS | 22/09/2018 15:12 | 22/09/2018 15:38 | 99.94% | RF Switch stuck - restored
1809220015-1 | Harare/Lusaka | ATS/DS | 22/09/2018 15:12 | 22/09/2018 15:38 | 99.94% | RF Switch stuck - restored
1809220015-1 | Harare/Maputo | ATS/DS | 22/09/2018 15:12 | 22/09/2018 15:38 | 99.94% | RF Switch stuck - restored
1809220015-1 | Harare/Jhb | AFTN | 22/09/2018 15:12 | 22/09/2018 15:38 | 99.94% | RF Switch stuck - restored
1809130036-1 | JHB/Antana | ATS/DS | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Beira | ATS/DS | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Gaborone | ATS/DS | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Lilongwe | ATS/DS | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Luanda | ATS/DS | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Maputo | ATS/DS | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Lesotho | ATS/DS | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Manzini | ATS/DS | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Plaisance | ATS/DS | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Harare | ATS/DS | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Windhoek | ATS/DS | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Antana | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Beira | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Gaborone | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Lilongwe | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Luanda | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Maputo | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Lesotho | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Manzini | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Plaisance | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Harare | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Windhoek | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Lusaka | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | Jhb/Entebbe | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | Jhb/Nairobi | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | Jhb/Kigali | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | Jhb/victoria | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | Jhb/Bujumbura | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809130036-1 | JHB/Kinshasa | AFTN | 13/09/2018 14:41 | 13/09/2018 14:41 | 99.99% | Solar outage
1809010015-1 | Kigali/Jhb | AFTN | 01/09/2018 20:04 | 01/09/2018 20:15 | 99.97% | External - end user equipment in Jhb, AMSS system restored at FAOR
1809050038-1 | Jhb/Lilongwe | AFTN | 05/09/2018 17:09 | 06/09/2018 11:03 | 97.5% | External - splitter in equipment room for AFTN PC bypassed - services restored
1809170061-1 | Jhb/Luanda | AFTN | 17/09/2018 14:12 | 17/09/2018 14:30 | 99.97% | External - end user equipment in Jhb - AMSS NAMIP restored
1809180015-1 | Jhb/Windhoek | ATS/DS | 18/09/2018 09:04 | 18/09/2018 09:06 | 99.99% | External end user equipment - PCUG in Jhb restored
1809200020-1 | Gaborone/Jhb | ATS/DS | 20/09/2018 09:59 | 20/09/2018 14:39 | 99.36% | External - End user equipment in Jhb - PCUG in Jhb restored
1809250052-1 | Luanda/Windhoek | ATS/DS | 25/09/2018 16:43 | 25/09/2018 17:13 | 99.93% | No Fault Found upon investigation
1809260009-1 | Jhb/Windhoek | ATS/DS | 26/09/2018 06:12 | 26/09/2018 06:36 | 99.95% | External - replaced cable in Windhoek.
1809140030-1 | Antana/Beira | ATS/DS | 14/09/2018 15:09 | 14/09/2018 15:17 | 99.99% | No Fault Found upon investigation